## Read Me
We are looking for this project for states to look at the facilities that appear on the Merged Top 50 list
Then using template based on Kodak fill out surveys for each of the units on the Merged Top 50
The 2011 SO2 totals are also located in the Merged Top 50

## Merged Top 50
Values
st_usps_cd | facility_id | facility_s | SO2 Total | # Sites Affected | Worksheet Link | <- If Blank Data is Needed
IL | 7793311 | Tate & Lyle Ingredients Americas LLC | 3992.28 | 5 | Have Data
| 8065311 | Aventine Renewable Energy Inc | 12200.5503 | 5 | Have Data
IN | 3986511 | Indiana Harbor East | 2873.8258 | 5
| 4553211 | INDIANA UNIVERSITY | 1443.9272 | 1
| 4873211 | BALL STATE UNIVERSITY | 2046.0308 | 4
| 4885311 | Citizens Thermal | 4348.8078 | 5
| 5552011 | UNIVERSITY OF NOTRE DAME DU LAC | 1643.8908 | 2
| 7364611 | SABIC INNOVATIVE PLASTICS MT. VERNON LLC | 4915.5502 | 5
| 7376411 | TATE & LYLE, LAFAYETTE SOUTH (33) | 2296.52 | 4
| 7376511 | ArcelorMittal Burns Harbor Inc. | 13842.7612 | 5
| 8181811 | ALCOA INC. - WARRICK OPERATIONS | 3897.8099 | 5
| 8192011 | US STEEL GARY WORKS | 4201.762 | 5
| 8198511 | ESSROC Cement Corp | 634.9435 | 1
| 8223611 | ELI LILLY & COMPANY CLINTON LABS | 1775.099 | 2
KY | 6096411 | E I Dupont Inc | 1519.0597 | 1
| 7352311 | Century Aluminum Sebree LLC | 4193.3709 | 5
| 7365311 | Isp Chemicals Inc. | 1975.9997 | 1
MA | 7236411 | SOLUTIA INCORPORATED | 629.7489 | 3 | Solutia, MA'!A1
MD | 6117011 | Naval Support Facility, Indian Head | 510.0041 | 1 | Naval Support Facility, MD'!A1
| 7763811 | Luke Paper Company | 22659.8422 | 5
| 8239711 | Sparrows Point, LLC | 870.5894 | 1 | Sparrows, MD'!A1
ME | 5253911 | MADISON PAPER INDUSTRIES | 755.2967 | 2 | Madison Paper, ME'!A1
| 5691611 | HUHTAMAKI INC - WATERVILLE | 202.0571 | 1 | Huhtamaki, ME'!A1
| 5692011 | FMC BIOPOLYMER | 558.7464 | 2 | FMC, ME'!A1
| 5974211 | WOODLAND PULP LLC | 489.6593 | 2 | Woodland, ME'!A1
| 7764711 | VERSO PAPER - ANDROSCOGGIN MILL | 449.6146 | 2 | Verso Jay, ME'!A1
| 7945211 | THE JACKSON LABORATORY | 19.6633 | 1 | Jackson Lab, ME'!A1
| 8200111 | SAPPI - SOMERSET | 766.2661 | 2 | SAPPI, ME'!A1
MI | 8126511 | ESCANABA PAPER COMPANY | 2196.245 | 2
| 8160611 | St. Marys Cement, Inc. (U.S.) | 1942.295 | 2
| 8483611 | U S STEEL GREAT LAKES WORKS | 5603.9448 | 5
NC | 7920511 | Blue Ridge Paper Products - Canton Mill | 8511.87 | 5 | Blue Ridget Paper Products, NC'!A1
| 8048011 | KapStone Kraft Paper Corporation | 880.8 | 1 | KapStone KraftPaper, NC'!A1
| 8122511 | DAK Americas LLC | 2028.29 | 1 | DAK Americas, NC'!A1
NH | 7199811 | DARTMOUTH COLLEGE | 308.9491 | 1 | Dartmouth College, NH'!A1
| 7866711 | GORHAM PAPER & TISSUE LLC | 126.9874 | 1 | Gorham Paper, NH'!A1
NJ | 12804611 | Gerresheimer Moulded Glass | 102.897 | 1
| 8093211 | Atlantic County Utilities Authority Landfill | 21.5126 | 1
NY | 7814711 | MORTON SALT DIV | 1332.5221 | 4 | Morton Salt Division, NY'!A1
| 7968211 | ALCOA MASSENA OPERATIONS (WEST PLANT) | 2467.9893 | 4 | Alcoa, NY'!A1
| 7991711 | INTERNATIONAL PAPER TICONDEROGA MILL | 1045.5834 | 4 | Intl. Paper Ticonderoga, NY'!A1
| 8090911 | NORLITE CORP | 124.9393 | 1 | Norlite, NY'!A1
| 8091511 | KODAK PARK DIVISION | 4291.9355 | 5 | Kodak Park Division, NC'!A1
| 8105211 | LAFARGE BUILDING MATERIALS INC | 9570.025 | 5 | LaFarge Building Materials, NY'!A1
| 8176611 | CARGILL SALT CO- WATKINS GLEN PLANT | 908.834 | 3 | Cargill Salt Co, NY'!A1
| 8325211 | FINCH PAPER LLC | 309.5507 | 1 | Finch Paper, NY'!A1
OH | 15485811 | Fluor-B&W Portsmouth LLC (0666005004) | 1495.2004 | 1
| 7219511 | Youngstown Thermal (0250110024) | 1063.3009 | 1
| 7416411 | Cargill, Incorporated - Salt Division (Akron, OH) (1677010027) | 1516.3214 | 4
| 7997111 | Morton Salt, Inc. (0285020059) | 4434.0334 | 5
| 8008811 | AK Steel Corporation (1409010006) | 2045.955 | 4
| 8063611 | BDM Warren Steel Operations, LLC (0278000463) | 1917.9881 | 5
| 8130511 | Kraton Polymers U.S. LLC (0684010011) | 2207.5 | 5
| 8131111 | P. H. Glatfelter Company - Chillicothe Facility (0671010028) | 19696.9041 | 5 | P H Glatfelter, OH'!A1
| 8170411 | City of Akron Steam Generating (1677010757) | 1728.88 | 5
| 8252111 | The Medical Center Company (1318003059) | 2133.0841 | 5
| 9301711 | DTE St. Bernard, LLC (1431394148) | 2033.0661 | 3
PA | 3186811 | Penn State Univ | 1444.6382 | 5 | Penn State Univ, PA'!A1
| 3881611 | HERCULES CEMENT CO LP/STOCKERTOWN | 1420.0496 | 5 | Hercules Cement, PA'!A1
| 4966711 | UNITED REFINING CO/WARREN PLT | 992.042 | 2 | United Refining, PA'!A1
| 6463511 | PPG IND INC/WORKS NO 6 | 680.87 | 1 | PPG Industries, PA'!A1
| 6532511 | AMER REF GROUP/BRADFORD | 1018.6923 | 3 | American Ref Group, PA'!A1
| 6582111 | INTL WAXES INC/FARMERS VALLEY | 1754.695 | 5 | Intl Waxes Inc, PA'!A1
| 6582211 | KEYSTONE PORTLAND CEMENT/EAST ALLEN | 983.5298 | 3 | Keystone Portland Cement, PA'!A1
| 6652211 | PHILA ENERGY SOL REF/ PES | 297.1119 | 1 | Philadelphia Energy-PES, PA'!A1
| 7409311 | USS CORP/EDGAR THOMSON WORKS | 1279.0014 | 3 | USS Edgar Thomson Works, PA'!A1
| 7872711 | APPLETON PAPERS/SPRING MILL | 1046.4267 | 2 | Appleton Papers, PA'!A1
| 7873611 | SUNOCO INC (R&M)/MARCUS HOOK REFINERY | 2043.675 | 5 | Sunoco Inc Marcus Hook, PA'!A1
| 8204511 | USS/CLAIRTON WORKS | 1467.5125 | 4 | USS Clairton Works, PA'!A1
| 9248211 | TEAM TEN/TYRONE PAPER MILL | 2181 | 5 | Team Ten Tyrone Paper Mill, PA'!A1
TN | 3982311 | EASTMAN CHEMICAL COMPANY | 22024.2121 | 5 | Eastman, TN'!A1
| 4963011 | PACKAGING CORPORATION OF AMERICA | 2400.5873 | 1
| 5723011 | Cargill Corn Milling | 3007.04 | 2
VA | 4183311 | GP Big Island LLC | 1143.2896 | 1 | Georgia Pacific Big Island, VA'!A1
| 4938811 | Huntington Ingalls Incorporated -NN Shipbldg Div | 805.132 | 1 | Huntington Ingalls Inc, VA'!A1
| 5039811 | Roanoke Cement Company | 1917.7416 | 4 | Roanoke Cement Company, VA'!A1
| 5748611 | Radford Army Ammunition Plant | 2887.989 | 5 | RAAP, VA'!A1
| 5795511 | Philip Morris Usa Inc - Park 500 | 681.057 | 1 | Phillip Morris Park, VA'!A1
WV | 4878911 | DUPONT WASHINGTON WORKS | 2102.4711 | 5
| 4987611 | CAPITOL CEMENT - ESSROC MARTINSBURG | 1280.0867 | 3
| 5782411 | BAYER CROPSCIENCE | 2265.3592 | 5
(blank) | 4182011 | Smurfit Stone Container Corporation - West Point | 907.8842 | 1 | Stone Container Corp., VA'!A1

## Template
Template for Point Source Information Collected from the Top 25 Industrial Facilities Responsible for Visibility Impairment in MANE-VU Class I Areas
Updated [DATE] by [ORG]
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Kodak Park Division | NY | 4291.54 | NOTE: Coal-fired boilers (Building 31) shut down prior to 2011- Building 321 stationary combustion installations, including package ABD built up boilers used for the generation of process steam and electricity |  |  | None | BART analysis - NOx & SO2 controls affordable on Boilers 41, 42, & 43 Wet Scrubber (90% reduction) would be ~$2,150/ton Dry Scrubber (40% reduction) would be ~$1,850/ton | Process K07 (Bldg 31) is No. 6 fuel oil combustion in package boilers Process K12 (Bldg 321) is No. 6 fuel oil combustion for built up Boilers 41, 42 and 43 Process K13 (Bldg 321) is bituminous coal combustion for built up Boilers 41, 42 and 43 Process K14 (Bldg 321) is No. 2 fuel oil combustion with NSPS applicability in Boiler 44 Process K15 (Bldg 321) is bituminous low sulfur coal combustion
|  |  | Boilers: | U0015 Boilers (EP-031B-1):
|  |  | 1 - Package boiler, No. 6 | 1 | 98 MMBTU/hr
|  |  | 2 - Package boiler, No. 6 | 2 | 98 MMBTU/hr
|  |  | 3 - Package boiler, No.6 | 3 | 98 MMBTU/hr
|  |  | 4 - Package boiler, No.6 | 4 | 98 MMBTU/hr
Boilers (EP-321B-3):
|  |  | 41 - Wet bottom cyclone, coal/No.6 | 41 | 500 MMBTU/hr
|  |  | 42 - Wet bottom cyclone, coal/No.6 | 42 | 500 MMBTU/hr
Boilers (EP-321B-4):
|  |  | 43 - Wet bottom cyclone, coal/No.6 | 43 | 640 MMBTU/hr
|  |  | 44 - Tangential-fired pulverized coal, coal/No.2 | 44 | 670 MMBTU/hr
Merged Top 50'!A1

## Solutia, MA
Solutia
Date: 2/17/2016
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Solutia Incorporated | MA | 629.7489 | Boilers: | Permit Approval #: 1-E-94-106
|  |  | POWER HOUSE - BOILER #9; Fuels: NO.2 and NG | 150 S01 | 112 MMBTU/HR | LNB 95% Efficiency for NOx |  | Opacity Monitoring Equipment. This unit is allowed to burn only natural gas after 2013 per facility to eliminate the allowance to burn fuel oil in this boiler.
|  |  | POWER HOUSE - BOILER #10; Fuels: NO.2 and NG | 150 S02 | 196 MMBTU/HR | LNB 95% Efficiency for NOx |  | Opacity Monitoring Equipment. This unit is allowed to burn only natural gas after 2013 per facility to eliminate the allowance to burn fuel oil in this boiler.
|  |  | POWER HOUSE - BOILER #11; Fuel: COAL | 150 S03 | 249 MMBTU/HR | Multi Cell Baghouse for PM10, Efficiency 99.60 |  | Opacity Monitoring Equipment.

## Sparrows, MD
Sparrow's Point
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Sparrow's Point | MD | 0 | 0 | [5 empty] | Facility Closed
Merged Top 50'!A1

## Luke Paper, MD
Luke Paper Company
Updated 2/26/2016 by OTC + MDE
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Luke Paper Company | MD | ?? |  |  |  | None
None
None
Merged Top 50'!A1

## Naval Support Facility, MD
Naval Support Facility, Indian Head Division
Updated 2/26/2016 by OTC + MDE
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Naval Support Facility, Indian Head Division | MD | 4291.54 | #6 Residual Oil Boiler | 017004-3-004 |  | None | None | 2016 switch to natural gas fuel
|  |  | #5 Residual Oil Boiler - 1 | 017004-3-005 |  | None | None
|  |  | #5 Residual Oil Boiler - 2 | 017004-3-006 |  | None | None
Merged Top 50'!A1

## Madison Paper, ME
Madison Paper Industries
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Madison Paper Industries | ME | 401.1 | Power Boiler #4 (Combustion Engineering) | Boiler 4 | 119 MMBTU/hr (#6 oil @ 2% sulfur; #2 @ 0.5% sulfur; and spec. waste oil) and 124.8 MMBTU/hr (natural gas) | None | None | 7/1/2018, #6 oil sulfur content will drop to 0.5% by wt, maximum and #2 will drop to 0.0015% by wt, maximum
|  | 321.4 | Power Boiler #6 (Nebraska Boiler Co.) | Boiler 6 | 99.6 MMBTU/hr (#6 oil @ 2% sulfur; #2 @ 0.5% sulfur; spec. waste oil; and natural gas) | None | None | 7/1/2018, #6 oil sulfur content will drop to 0.5% by wt, maximum and #2 will drop to 0.0015% by wt, maximum
Merged Top 50'!A1

## Huhtamaki, ME
Huhtamaki Inc. - Waterville
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Huhtamaki Inc. - Waterville | ME | 198 | Power Boiler #5 (Babcock & Wilcox) | Boiler #5 | 71.3 MMBTU/hr (natural gas) and 64.8 MMBTU/hr (No. 6 fuel oil) | None | None | No. 6 fuel oil cap of 3,110,400 gallons/year Natural gas cap of 503.2 MMscf/year
Merged Top 50'!A1

## FMC, ME
FMC Corporation
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
FMC Corporation | ME | 367.8 | Power Boiler #3 (Union Iron Works) | #3 Boiler | 85.6 MMBTU/hr | None | None | Converted in 2014 from #6 fuel oil to natural gas with #2 fuel as back up.
|  | 20.6 | Power Boiler #4 (Union Iron Works) | #4 Boiler | 48.6 MMBTU/hr | None | None | Converted in 2014 from #6 fuel oil to natural gas with #2 fuel as back up.
Merged Top 50'!A1

## Woodland, ME
Woodland Pulp LLC
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Woodland Pulp LLC | ME | 40.2 | Kraft Recovery Boiler #3 (Gotaverken) | #3 Recovery Boiler | 1,207 MMBTU/hr (all fuels) | ESP | None | SO2 CEMS
|  | 419 | Power Boiler #9 (Babcock & Wilcox) | #9 Power Boiler | 740 MMBTU/hr (all fuels), with the following caveats: 1) licensed max. input of 625 MMBTU/hour on a 24-hour basis; and 2) may fire up to 740 MMBTU/hr when #3 RB is offline or in startup or shutdown, and the pulp mill and pulp dryer are on-line | Wet Scrubber | None | SO2 CEMS. This is a unit with BART requirements.
Merged Top 50'!A1

## Verso Jay, ME
Verso Androscoggin
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Verso Androscoggin | ME | 23 | Recovery Boiler #1 (Combustion Engineering) | RB1 | 2.50 MMlb dry black liquor solids/day | ESP | None | SO2 CEMS
|  | 396 | Recovery Boiler #2 (Babcock & Wilcox) | RB2 | 3.44 MMlb dry black liquor solids/day | ESP | None | SO2 CEMS
Merged Top 50'!A1

## Jackson Lab, ME
The Jackson Laboratory
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
The Jackson Laboratory | ME | 5 | Boiler #12 (Babcock & Wilcox) | Boiler #12 | 49.9 MMBTU/hr (all fuels: wood pellets, natural gas, propane, and distillate fuel oil @ 0.05% S by wt.) | None | None
Merged Top 50'!A1

## SAPPI, ME
Sappi-Somerset
Updated 2/18/2016 by MEDEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Sappi-Somerset | ME | 640.4 | Power Boiler #1 (Babcock & Wilcox) | 001 (PB#1) | 848 MMBTU/hr (all fuels) and 250 MMBTU/hr (fossil fuels) | Multiclone and ESP | None | CEMS SO2. Facility to reduce SO2 emissions by 50% by 2013 (BART deadline)
|  | 89.1 | Recovery Boiler (Combustion Engineering) | Recovery Boiler | 5.5 MMlb/day BLS | ESP | None
Merged Top 50'!A1

## DAK Americas, NC
DAK Americas LLC - Cape Fear Plant
Updated 2/16/2016 by NCDAQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
DAK Americas LLC - Cape Fear Plant (3701900013) | NC | 2028.29 | 0 (shutdown 2014; SO2 emissions units have been dismantled by DAK) |  | Permit No. 03033
Merged Top 50'!A1

## Blue Ridget Paper Products, NC
Blue Ridge Paper Products
Updated 2/16/2016 by NCDAQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Blue Ridge Paper Products - Canton Mill (3708700159) | NC | 8511.87 | 7593.86 | Gl1037 (G65) | PERMIT NO.:08961 |  |  | This facility has a permit modification in house received January 19, 2016. The modification is to construct and operate 2 natural gas (NG) boilers for which the company plans to break ground in March and be operational by December 2016. The company is installing scrubbers on 2 existing coal fired boilers (G11039 & G11040) and once that is completed, they will discontinue the use of two other coal fired boilers (G11037 & G11038) that do not have scrubbers on them. In the future, they plan to replace the 2 coal fired boilers with scrubber with NG fired boilers. | 11-CD-003-0I
|  |  |  | PSD Case-by-Case MACT |  | 364 MMBTU/hr | Low-NOx burners, |  | 2-Chamber, 3-Field electrostatic precipitator; 51 ,840 square feet of plate
|  |  |  | Coal-fired Big Bill utility boiler |  |  | Natural gas/kerosene igniters(Igniters are not yet installed)
2011SO2: 1336.28/2014 SO2:1013.4 (ton/yr)
|  |  |  | G11038 (G24) |  | 364 MMBTU/hr | Low-NOx burners, |  | 11-CD-004-0I
|  |  |  | PSD Case-by-Case MACT |  |  | Natural gas/kerosene igniters |  | 2-Chamber, 3-Field electrostatic precipitator; 51 ,840 square feet of plate
Coal-fired Peter G. utility boiler
2011 SO2: 1306.2/2014 SO2:1143.7 (ton/yr)
|  |  |  | G11039 (G25) |  | 399 MMBTU/hr | Low-NOx burners, |  | 11-CD-005 -0I
|  |  |  | PSD Case-by-Case MACT |  |  | Natural gas/kerosene igniters |  | 2-Chamber, 3-Field electrostatic precipitator; 67,392 square feet of plate
Coal-fired Riley Coal utility boiler
2011 SO2: 1933.68/2014 SO2:1807.32 (ton/yr)
|  |  |  | G11040 (G66) |  | 535 MMBTU/hr | Low-NOx burners, |  | 11-CD-006-0I
|  |  |  | NSPS, Subpart D PSD Case-by-Case MACT |  |  | Separated Overfire Air (SOFA) Syaytem |  | 2-Chamber, 4-Field electrostatic precipitator; 115 ,236 square feet of plate
|  |  |  | Coal/No. 2/No. 6 fuel oil-frred No. 4 Power Boiler |  |  |  |  | 11-CD-006-02
|  |  |  | 2011 SO2: 1910.59/2014 SO2:1739.21 (ton/yr) |  |  |  |  | Urea-based Selective Non-Catalytic Reduction (SNCR)NOx emission reduction system
G11042 (G26)
|  |  |  | Case-by-Case MACT |  | 380 MMBTU/hr | Partial flyash reinjection and grate fire ignition (kerosene and rags) |  | 11-CD-016-0I
|  |  |  | Woodwaste/bark/"depoly" waste/ fiber-based roll cores/coal-fired hybrid suspension grate Riley Bark boiler |  |  |  |  | multicyclone (approximately 160 tubes, 9 inches in diameter, each)
|  |  |  | 2011 SO2: 972.45 /2014 SO2: 830.11 (ton/yr) |  |  |  |  | 11-CD-016-02
venturi-type wet scrubber (water with pH adjustment)
|  |  |  | G08020 (G31) |  | 382 MMBTU/hr |  |  | 08-CD-00 2-01
|  |  |  | MACT, Subpart MM |  |  |  |  | 3-Chamber, 6-field electrostatic precipitator (nominal 115,236 square feet of collection plate area; wet bottom design)
|  |  |  | No. 10 new design recovery furnace1 combusting black liquor solids, ultra low sulfur No. 2 fuel oil |  | pneumatic flyash collection system
2011 SO2: 521.73/2014 SO2: 512.53 (ton/yr)
|  |  |  | G08021 (G32) |  | 382 MMBTU/hr |  |  | 08-CD-002-01
|  |  |  | MACT, Subpart MM |  |  |  |  | 3-Chamber, 4-field electrostatic precipitator (nominal 115,236 square feet of collection plate area; wet bottom design)
No. 11 new design recovery furnace1 combusting black liquor solids, ultra low sulfur No. 2 fuel oil
2011 SO2: 432.58/2014 SO2: 458.8 (ton/yr)
Merged Top 50'!A1

## KapStone KraftPaper, NC
KapStone Kraft Paper Corporation
Updated 2/16/2016 by NCDAQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
KapStone Kraft Paper Corporation (3708300007) | NC | 880.8 | 72.13 | ES-08-PU-012 G36) | PERMIT NO.:01649 | 504 MMBTU/hr | 08-CD-012-001
|  |  |  | PSD NCPS Subpart BB MACT Subpart MM |  |  | Single stage, cold-side dry bottom electrostatic precipitator (140,000 square feet of plate area)
No. 7 Recovery Furnace/Ultra low sulfur No. 2 fuel oil blended /No.6 fuel oil/No. 4 fuel oil-fired recovery furnace
2011 SO2: 8.66/2014 SO2: 9.9 (ton/yr)
|  |  |  | ES-11-CU-001 (G12) |  | 504 MMBTU/hr | 11-CD-001-001 (West ccrubber) |  | Two venturi scrubbers installed in parallel
|  |  |  | MACT Subpart S control devices, Case by Case MACT |  |  | in parallel with
|  |  |  | No.1 Power Boiler - coal/wood/No. 6/No. 4 fuel oil-fired Boiler |  |  | 11-CD-001-002 (East ccrubber)
2011 SO2: 802.8/2014 SO2: 38.3 (ton/yr)
|  |  |  | ES-11-CU-033&ES-11-CU-034 (G42) |  | 185 MMBTU/hr
|  |  |  | Case by Case MACT |  | 185 MMBTU/hr
Package Boilers 2 & 3 - No. 2/No. 6 fuel oil-fired boiler
2011 SO2: 59.56/2014 SO2: 14.3 (ton/yr)
|  |  |  | G5 |  | 85 MMBTU/hr
Lime Kiln - No. 6 / No. 4 fuel oil/natural gas-fired
2011 SO2: 9.01/2014 SO2: 7.99 (ton/yr)
|  |  |  | ES-11-CU-044 |  | 96 MMBTU/hr
No. 2 fuel oil-fired tempory boiler
|  |  |  | ES-11-CU-045 |  | 96 MMBTU/hr
No. 2 fuel oil-fired tempory boiler
|  |  |  | ES-11-CU-046 |  | 96 MMBTU/hr
No. 2 fuel oil-fired tempory boiler
|  |  |  | ES-11-CU-047 |  | 96 MMBTU/hr
No. 2 fuel oil-fired tempory boiler
Merged Top 50'!A1

## Dartmouth College, NH
Dartmouth College, NH
Updated 1/25/2016 by NHDES
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Dartmouth College | NH | 308.95 | Boilers: | TV-OP-022: |  | None | None | All four boilers exhaust thru a common stack. Max. sulfur contents: Boiler 1 = 1.0% Boiler 2 = 0.5% for No. 6 and 0.4% for No. 2 Boiler 3 = 0.5% Boiler 4 = 1.0%
|  |  | 1 - Boiler 1, No. 6 | 1 | 112 MMBTU/hr
|  |  | 2 - Boiler 2, No. 6 or No. 2 | 2 | 98 MMBTU/hr on No. 6, 100 MMBTU/hr on No. 2
|  |  | 3 - Boiler 3, No.6 | 3 | 96 MMBTU/hr
|  |  | 4 - Boiler 4, No.6 | 4 | 97 MMBTU/hr
Merged Top 50'!A1

## Gorham Paper, NH
Gorham Paper & Tissue, NH
Updated 1/25/2016 by NHDES
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Gorham Paper & Tissue | NH | 127.02 | Boilers: | TV-OP-048: |  | None | None | Boilers 1, 2, & 3 exhaust thru a common stack. Max. sulfur contents: Boilers 1, 2, & 3 = 1.5% Temp. Boiler = 0.5% for No. 6 and 0.4% for No. 2
|  |  | 1 - Boiler 1; No. 6, on-spec used oil blended with No. 6, natural gas, or natural gas blended with landfill gas | 1 | 129 MMBTU/hr
|  |  | 2 - Boiler 2; No. 6, on-spec used oil blended with No. 6, natural gas, or natural gas blended with landfill gas | 2 | 162 MMBTU/hr
|  |  | 3 - Boiler 3; No. 6 or on-spec used oil blended with No. 6 | 3 | 69 MMBTU/hr
|  |  | 4 - Temporary Boiler, No. 6 or No. 2 | 4 | 100 MMBTU/hr
Merged Top 50'!A1

## Morton Salt Division, NY
Morton Salt Division
Updated 1/13/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Morton Salt Division | NY | 1332 | Process 001 includes the burning of bituminous coal in a dry bottom boiler to generate steam. The boiler has an electrostatic precipitator to control particulate emissions. The emission point includes a brick chimney (EP00001). |  |  | None for SO2 | The coal boiler and associated source equipment are planned for removal upon installation of the new natural gas boiler. The permanent shutdown of this source must occur no later than January 30, 2016.
Process 002 includes the natural gas ignitors on the coal boiler. The gas ignitors are fired to start the boiler during start-up, during ash removal and to support low or changing combustion conditions.
|  |  | Emission Source (ES): B0001 - RILEY STOKER CLASS BBY30WW - Dry Bottom Coal | Emission Point (EP): 00001 | 138 MMBTU/hr
Merged Top 50'!A1

## Alcoa, NY
Alcoa
Updated 1/13/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Alcoa West Plant | NY | 2467.989 | Primary Aluminum reduction Potline- 198 pots reduce alumina to aluminum metal through electrolytic reduction | Process-POT Emission points SA398, PRV01 | 130,000 metric tons of Aluminum/year | dry alumina injection with baghouse control | BART analysis -SO2 controlled by 2.5% sulfur by weight or less in the raw material coke. Existing Dry Scrubber (93% PM reduction) controls PM-10 emissions No controls for NOX (SCR or SNCR)- technically infeasible- exhaust gas temp too low----------------------------------------------------------- -SO2 controls on the Bake furnace were found to be too costly at 13,795 per ton controlled -NOx controls on the Bake furnace were found to be too costly at $22,860 per ton controlled -PM-10 is controlled with the existing dry scrubber and baghouse -----------------------------------------------------------------------------------SO2- the facility originally limited it's sulfur content of the #6 oil to 1% by weight or less as presumptive BART. Sulfur in #6 oil is now limited to 0.5% by weight under separate regulation. -NOx-The current configuration is considered BART -PM-10-Current emissions of 0.045 lbs/MMBTU meets the presumptive BART limit
|  |  | Anode Bake Furnace -This consists of a ring furnace firing natural gas to bake the anodes to be used in the aluminum reduction process. | Process- BAK Emission point S0078 |  | Alumina injection Dry Scrubber and baghouse
|  |  | Boiler house- this consists of four boilers firing natural gas or #6 oil, emitting from 2 emission points. | Emission unit B-00001, EP- 00001 and 00002 | 200 MMBTU/hr gas and 160 MMBTU/hr on oil | Flue gas recirculation and low-NOx burners
Merged Top 50'!A1

## Intl. Paper Ticonderoga, NY
International Paper Ticonderoga
Updated 1/14/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
International Paper Ticonderoga | NY | 1045 | 2 Boiler used for process steam and electricity | 5-1548-00008
|  | 948 | Power Boiler: wood, oil, natural gas and pulping gases | EP 00044 | 855 MMBTU/hr | caustic scrubber | wet esp for PM - incidental SO2 control | Started burning natural gas in 2015 to offset some oil use This will reduce SO2 but don't have actual data yet
|  | 90 | Boiler used for process steam and kraft liquor recovery boiler liquor / limited oil | EP 00001 and 00103 | 600 MMBTU/hr | ESP | None | Size of IP recovery boiler is estimated
Merged Top 50'!A1

## Norlite, NY
Norlite
Updated 1/13/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Norlite | NY | 263 | Build #3 - Main Plant | KAF Process |  |  |  | Process KAF is burning of hazardous waste in lightweight aggregate kilns
|  |  | Kiln #1 Exhaust | K1CT4 | 62 MMBTU/hr | Cyclone/Scrubber/Baghouse
|  |  | Kiln #2 Exhaust | K2CT4 | 62 MMBTU/hr | Cyclone/Scrubber/Baghouse
Merged Top 50'!A1

## Kodak Park Division, NC
Kodak Park Division
Updated 1/14/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Kodak Park Division | NY | 4291.54 | NOTE: Coal-fired boilers (Building 31) shut down prior to 2011- Building 321 stationary combustion installations, including package ABD built up boilers used for the generation of process steam and electricity |  |  | None | BART analysis - NOx & SO2 controls affordable on Boilers 41, 42, & 43 Wet Scrubber (90% reduction) would be ~$2,150/ton Dry Scrubber (40% reduction) would be ~$1,850/ton | Process K07 (Bldg 31) is No. 6 fuel oil combustion in package boilers Process K12 (Bldg 321) is No. 6 fuel oil combustion for built up Boilers 41, 42 and 43 Process K13 (Bldg 321) is bituminous coal combustion for built up Boilers 41, 42 and 43 Process K14 (Bldg 321) is No. 2 fuel oil combustion with NSPS applicability in Boiler 44 Process K15 (Bldg 321) is bituminous low sulfur coal combustion
|  |  | Boilers: | U0015 Boilers (EP-031B-1):
|  |  | 1 - Package boiler, No. 6 | 1 | 98 MMBTU/hr
|  |  | 2 - Package boiler, No. 6 | 2 | 98 MMBTU/hr
|  |  | 3 - Package boiler, No.6 | 3 | 98 MMBTU/hr
|  |  | 4 - Package boiler, No.6 | 4 | 98 MMBTU/hr
Boilers (EP-321B-3):
|  |  | 41 - Wet bottom cyclone, coal/No.6 | 41 | 500 MMBTU/hr
|  |  | 42 - Wet bottom cyclone, coal/No.6 | 42 | 500 MMBTU/hr
Boilers (EP-321B-4):
|  |  | 43 - Wet bottom cyclone, coal/No.6 | 43 | 640 MMBTU/hr
|  |  | 44 - Tangential-fired pulverized coal, coal/No.2 | 44 | 670 MMBTU/hr
Merged Top 50'!A1

## LaFarge Building Materials, NY
LaFarge Building Materials
Updated 1/14/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
LaFarge Building Materials | NY | 9570 | Emission Unit 0-41000 |  |  |  |  | Process is a coal/oil-fired cement kiln
|  |  | Kiln #1 | K12 | 507 MMBTU/hr | ESP
|  |  | Kiln #2 | K12 | 507 MMBTU/hr | SNCR
Merged Top 50'!A1

## Cargill Salt Co, NY
Cargill Salt Co, NY
Updated 1/13/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Cargill Salt Co - Watkins Glen Plant | NY | 908.83 (from 2012 fee bill in AFS Fee Billing Module) | 2 – ERIE CITY-2-DR-MP Coal Fired Spreader Stoker Boilers | EP 00001 | 92.2 MMBTU/hr | Bag House (particulate control) | None | Process 001 Combustion of coal in one or two Erie City spreader stoker boilers.
|  |  | Cleaver Brooks Dual Fuel Boiler | EP 00017 | 33.5 MMBTU/hr
|  |  | Cleaver Brooks Dual Fuel Boiler | EP 00018 | 10.5 MMBTU/hr
Merged Top 50'!A1

## Finch Paper, NY
Finch Paper
Updated 1/14/2016 by NYDEC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Finch Paper | NY | 310 | Boilers used for process steam and electricity
5-5205-00005 |  | 39 tons for these | Power Boilers:
|  |  | power boiler 2 natural gas / oil | EP 00009 | 119 MMBTU/hr | None | None | oil is no longer used except during natural gas curtailment
|  |  | power boiler 3 natural gas / oil | EP 00009 | 119/MMBTU/hr | None | None
|  |  | power boiler 4 natural gas / oil | EP 00009 | 133 MMBTU/hr | None | None
|  |  | power boiler 5 natural gas / oil | EP 00009 | 133 MMBTU/hr | None | None
|  |  | wood waste boiler wood / gas / oil | EP 00012 | 249 MMBTU/hr | particulate scrubber incidentalSO2 control | None
|  | 244 tons for these | Boilers used for process steam, electricity and sulfite liquor recovery: |  |  | absorbers recover SO2 from all boilers - not classified a control device
|  |  | boiler 6 liquor / natural gas | EP 00012 | 120 MMBTU/hr |  | None
|  |  | boiler 7 liquor / natural gas | EP00012 | 120 MMBTU/hr |  | None
|  |  | boiler 8 liquor / natural gas | EP00012 | 265 MMBTU/hr |  | None
|  |  | boiler 10 liquor / natural gas | EP 00012 | 305 MMBTU/hr |  | None
Merged Top 50'!A1

## P H Glatfelter, OH
P. H. Glatfelter Company - Chillicothe Facility Division
Originally 2007 RPG, Updated 2/26/2016 by OTC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
P. H. Glatfelter Company - Chillicothe Facility Division | OH |  | No.5 Coal Boiler - wet bottom, pulverized coal- fired boiler (C. E. model VU-40), capable of running on #2 fuel oil as backup fuel | B001 | 380 MMBTU/hr maximum heat input | Cyclone/ multi-clone ESP | None | 9.9 lbs of sulfur dioxide per MMBTU actual heat input
|  |  | No.7 Coal Boiler - wet bottom, pulverized coal- fired boiler (C. E. model VU-405), capable of running on #2 fuel oil as backup fuel | B002 | 422 MMBTU/hr maximum heat input | Cyclone/ multi-clone ESP
|  |  | No.8 Coal Boiler - wet bottom, pulverized coal- fired boiler (C. E. model VU-40), capable of running on #2 fuel oil as backup fuel. | B003 | 505 MMBTU/hr maximum heat input | Cyclone/ multi-clone ESP
Merged Top 50'!A1

## Penn State Univ, PA
Penn State Univ, PA
Updated 1/6/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
PA State Univ/Univ Park Campus | PA | 1444.6382 | 1018 | West Campus Steam Plant (WCSP) Boilers: | TVOP 14-00003 |  |  |  | To meet MATS, PA State Univ/Univ Park Campus applied for and received Plan Approval 14-00003F in January 2014 to install two natural gas fired-boilers (031B and 032B) (distallate oil back-up), which will be limited to 693,000 MMBTU/12-month rolling period for NG, and 76,000 MMBTU/12-month rolling period for distillate. This plan approval requires the permanent shutdown of WCSP Boilers 1, 2 and 5 prior to start-up of the new boilers. In addition, Boilers 6 and 8 will only run on natural gas. Coal deliveries to the plant will be prohibited.
|  |  |  | WCSP Boiler 1, coal/NG/#2 | 31 | 143 MMBTU/hr | air filter | see add'l information
|  |  |  | WCSP Boiler 2, coal, #2/NG | 32 | 143 MMBTU/hr | air filter | see add'l information
|  |  |  | WCSP Boiler 5, #2/NG | 33 | 67.5 MMBTU/hr | air filter | see add'l information
|  |  |  | WCSP Boiler 6, coal/#2/NG | 34 | 49 MMBTU/hr | air filter | see add'l information
|  |  |  | WCSP Boiler 8, coal/#2/NG | 35 | 49 MMBTU/hr | air filter | see add'l information
East Campus Steam Plant (ECSP) Boilers:
|  |  |  | ECSP Boiler 1, #2/NG | 36 | 130 MMBTU/hr | None
|  |  |  | ECSP Boiler 2, #2/NG | 37 | 130 MMBTU/hr | None
An inspection on 9/28/15 documented that WCSP Boilers 2 and 5 have been demolished and that Boiler 1 was operating on natural gas, while construction of the new boilers was ongoing. It should be noted that new Boiler 2 (032B) began operating in November 2015. New Boiler 1 (031A) will likely be completed by January 2017. Coal storage area has been demolished.
Merged Top 50'!A1
To meet MATS, PA State Univ/Univ Park Campus applied for and received PA-00003F in January 2014 to install two natural gas fired-boilers (031B and 032B) (distallate oil back-up), which will be limited to 693,000 MMBTU/12-month rolling period for NG, and 76,000 MMBTU/12-month rolling period for distillate. This PA requires the permanent shutdown of WCSP Boilers 1, 2 and 5 prior to the start-up of the new boilers. In addition, Boilers 6 and 8 will only run on natural gas. Coal deliveries to the plant will be prohibited. An inspection on 9/28/15 documented that WCSP Boilers 2 and 5 have been demolished and that Boiler 1 was operating on natural gas, while construction of the new boilers was ongoing.

## Hercules Cement, PA
Hercules Cement, PA
Updated 1/6/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
HERCULES CEMENT CO LP/ STOCKERTOWN | PA | 1420.0496 | 1373.4527 | Portland Cement Plant | TVOP 48-00005 |  |  | See additional information | *TVOP renewal pending (appl. rec'd 2011), operating under permit shield Plan approvals have been issued to add capability of burning tire-derived liquid fuel, and add SNCR. --- Title V permit renewal pending
|  |  |  | No. 1 Preheater and cement kiln system | 102 | 10 tons/hr bituminous | baghouses
22 tons/hr coke
720 gal/hr #2 oil
62 tons/hr clinker
|  |  |  | No. 3 Preheater and cement kiln system | 122 | 10 tons/hr bituminous | baghouses
22 tons/hr coke
720 gal/hr #2 oil
98 tons/hr clinker
Merged Top 50'!A1

## United Refining, PA
United Refining, PA
Updated 1/6/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
UNITED REFINING CO/ WARREN PLT | PA | 992.042 | 827.63 | Petroleum Refining FCC Unit | TVOP 62-00017 (101 A) | 1,000 BBL/HR fresh feed | Cyclones & ESP | None | United Refining is located in Warren County, PA - a SO2 nonattainment area for the 2010 SO2 NAAQS. The facility will need to reduce SO2 emissions to get Warren County emissions to attain the SO2 NAAQS.
Merged Top 50'!A1

## PPG Industries, PA
PPG Industries, PA
Updated 1/6/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
PPG IND INC/ WORKS NO 6 | PA | 680.87 | ?? | Furnaces | TVOP 21-05002 |  |  |  | October 2014 - Title V permit renewal application rec'd --- renewal currently pending.
|  |  | 243.5 | Glass Melting Furnace 1 | 101 | 29.2 tons/hr | None
1500 gal/hr
215 MCF/hr
|  |  | 111 | Glass Melting Furnace 2 | 102 | 29.2 tons/hr | ESP, SCR
1500 gal/hr
215 MCF/hr
2014 SO2 emissions were 410.3254 tons
(2014 SO2: 243.5 tons from Furnace 1; 111 tons from Furnace 2)
(2014 NOx: 1,859.5 tons from Furnace 1; 552.24 tons from Furnace 2)
Merged Top 50'!A1

## American Ref Group, PA
American Ref Group, PA
Updated 1/6/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
AMER REF GROUP/ BRADFORD | PA | 1018.6923 | 662.2132 | Boilers: | TVOP 62-00017 |  |  |  | On 4/27/15, plan approval 42-004J was issued for the proposed construction of a new multi-fueled-fired boiler using either natural gas or refinery gas. This boiler will replace an existing coal-fired boiler (Boiler 5 - Source 037).
|  |  |  | Boiler 3, natural gas/refinery gas | 33 | 99 MMBTU/hr | None
|  |  |  | Boiler 4, natural gas/refinery gas | 34 | 99 MMBTU/hr | None
|  |  |  | Boiler 5 (stoker), coal | 37 | 169 MMBTU/hr | multicyclone, baghouse | see additional information
Merged Top 50'!A1

## Intl Waxes Inc, PA
Intl Waxes Inc, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
INTL WAXES INC/ FARMERS VALLEY | PA | 1754.695 | 1305.93 | Boilers: | TVOP 42-00011 |  |  |  | Facility has submitted plan approval application (42-00011M) for the addition of Boiler 6 to operate on NG/#5 oil; Boilers 1, 2 and 5 to operate on NG/#5 oil. Plan approval not issued yet, as of 1/4/16. LNB and FGR would be installed on Boilers 1, 2, 5 and new boiler 6.
|  |  | 854.6 | Boiler 1, coal/#6/#5/NG/#2 | 031A | 108 MMBTU/hr | ESP | see additional information
|  |  | 368 | Boiler 2, coal/#6/#5/NG/#2 | 032A | 84 MMBTU/hr | ESP | see additional information
|  |  | 83.2 | Boiler 3, coal/#6/#5/NG/#2 | 033A | 90 MMBTU/hr | ESP
|  |  |  | Boiler 5, NG | 35 | 99.8 MMBTU/hr | None | see additional information
Merged Top 50'!A1

## Keystone Portland Cement, PA
Keystone Portland Cement, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
KEYSTONE PORTLAND CEMENT/ EAST ALLEN | PA | 983.5298 | 1354.23 | Preheater/Precalciner and Kiln, WDLF | TVOP 48-00003 (226) |  | Fabric collector | Source 226 limited to 500 ppmvd for SO2 | Title V permit renewal pending; operating under permit shield. It should be noted that kiln 2 (a separate source), which was a BART source, was retired in November 2009.
Merged Top 50'!A1

## Philadelphia Energy-PES, PA
Philadelphia Energy-PES, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
PHILA ENERGY SOL REF/ PES | PA | 297.1119 | 353.87 | FCC Unit (PB 868 FCCU) | TVOP V06-016 (539) |  | ESP | None | None
Merged Top 50'!A1

## USS Edgar Thomson Works, PA
USS Edgar Thomson Works, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
USS CORP/ EDGAR THOMSON WORKS | PA | 1279.0014 | 1329.0207
|  |  |  | Stoves: | TVOP #0051
|  |  |  | BF Stove #1 - Blast furnace gas (BFG), Coke Oven Gas (COG), Natural Gas (NG) | P001b | 495 MMBTU/hr | None
Boilers:
|  |  |  | Riley Boiler #1 - BFG, COG, NG | B001 | 525 MMBTU/hr | None
|  |  |  | Riley Boiler #2 - BFG, COG, NG | B002 | 525 MMBTU/hr | None
|  |  |  | Riley Boiler #3 - BFG, COG, NG | B003 | 525 MMBTU/hr | None
|  |  |  | Blast Furnace Gas (BFG) Flare | P001c | 3MMcfh | None
|  |  |  | BF #1 + BF #3 Casthouse | P001a, P002a |  | baghouses, scrubbers
Merged Top 50'!A1

## Appleton Papers, PA
Appleton Papers, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
APPLETON PAPERS/ SPRING MILL**** | PA | 1046.4267 | [5 empty] | November 2015 - Appleton submitted plan approval application 07-05001F to incorporate Boiler MACT (DDDDD), construct and install wet ESP on Power Boiler #3 (Source 036) and modify the existing venturi scrubber.
|  |  | Boilers: | TVOP 07-05001
|  |  | Boiler #4 PB, natural gas/#6 oil | 33 | 205.3 MMBTU/hr | None | (back-up boiler)
|  |  | Boiler #3 PB, coal/bark/sludge/wood | 36 | 180 MMBTU/hr | multicyclone, venturi scrubber | see additional information
|  |  | Boiler #3 recovery boiler, black liquid solids/#6 oil/biodiesel | 38 | 217 MMBTU/hr | ESP
****APPLETON PAPERS IS NOW: APPVION INC/SPRING MILL
2014 SO2 emissions were 963.1 tons.
2014 SO2: Source 036 - 788.99 tons; Source 038 - 171.68 tons.
(2014 NOx emissions were 387.7 tons)
Merged Top 50'!A1

## Sunoco Inc Marcus Hook, PA
Sunoco Inc Marcus Hook, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Sunoco Inc. (R&M) - Marcus Hook Refinery | PA | 2043.675 | 0 | Plt. 10-4 FCC unit | 101 | 4,792.000 bbl/hr | None | All Crude Petroleum Refining Operations ceased, effective 12/31/2011. | The Sunoco Marcus Hook facility shut down and permanently ceased all crude petroleum refining operations, effective December 31, 2011. The consent decree in this case in the U.S. District Court for the Eastern District of Pennsylvania (Case 2:05-cv-02866) was terminated on December 6, 2013.
Merged Top 50'!A1

## USS Clairton Works, PA
USS Clairton Works, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
USS/ CLAIRTON WORKS | PA | 1467.5125 | 1511.7339 |  | TVOP #0052
Batteries:
|  |  |  | Battery B, coke oven gas (COG) | P012 |  | Baghouse
Battery C underfiring
Boilers:
|  |  |  | Boiler 1 COG, NG | B001 | 760 MMBTU/hr
|  |  |  | Boiler 2 COG, NG | B002 | 481 MMBTU/hr
|  |  |  | Desulfurization Plant | P019 |  | Afterburner
Merged Top 50'!A1

## Team Ten Tyrone Paper Mill, PA
Team Ten Tyrone Paper Mill, PA
Updated 1/4/2016 by PA DEP
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
TEAM TEN/ TYRONE PAPER MILL | PA | 2181 | 2738.33 | Boilers: | TVOP 07-05008 |  |  |  | Facility received Plan Approval 07-05008A in October 2015 for the installation of a new natural gas/No. 2 oil fired boiler (Source 034 - B&W package boiler) with a heat input of 154.75 MMBTU per hour (147.4 MMBTU/hr when firing No. 2 oil). The proposed boiler will be equipped with LNB, in combination with FGR. As part of the project, the existing coal-fired No. 7 boiler (Source 033A) will be decommissioned (Source ID 033A shall be rendered inoperable within 180 days after the commencement of operation of the new boiler).
|  |  |  | Babcock & Wilcox No. 7 boiler | 033A | 236 MMBTU/hr | None | **See additional information
Merged Top 50'!A1

## Eastman, TN
Eastman Chemical Company
Originally 2007 RPG, Updated 2/26/2016 by OTC
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Eastman Chemical Company | TN |  | Two fuel burning installations (B-83-1 & B-253-1) w/a total of 19 coal fired boilers of which 14 units (#18-#24) are located at Powerhouse B-83-1 & 5 units (#25-#29) are located at Powerhouse B-253-1. The primary fuel is coal. In addition, wood, waste solids, waste liquids, & biosludge may be burned in these Powerhouses, while NG & process gas may also be burned in the Powerhouse B- 253-1 boilers. | 82-0003-01-19 (020101,021520) | 6,625 MMBTU/hr nominal heat input | ESP | Scrubbers, potentially | The five boilers in Powerhouse B-253-1 are subject to BART. The State does not have confirmation yet, but they believe that the boilers will be controlled by scrubbers of some sort. Units #11-#17, that were located at Powerhouse B-83-1, have been removed
|  |  | Coal-Fired Boilers 30 and 31 | PES B-325-1 or 82-1010-15 (261501) | Heat input is limited to 780 and 880 MMBTU/hr, respectively, on a 30 calendar day rolling average basis | None | None
Merged Top 50'!A1

## Stone Container Corp., VA
Stone Container Corp.
DRAFT 12-17-15
Facility Name | State | 2011 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Stone Container Corp. (dba Smurfit-Stone Container)19 | VA | ??? | #8 Power Boiler that burn bituminous coal | 2 | 1,056 MMBTU/hr | None | Wet gas scrubber (2007) | Consent Decree dated 11/2004 which states that SO2 emission rate will not exceed 0.26 lb/MMBTU on a 30-day rolling average basis.
Merged Top 50'!A1

## Georgia Pacific Big Island, VA
Georgia Pacific Big Island
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Georgia Pacific Big Island LLC | VA | 1079 | 0 | PWR04 No 4 boiler | 1, 1 | 284 MMBTU/hr | Multi clone, precipitator | Retired | Retired, as noted in BART permit.
|  | 63.68 | 113.72 | PWR05 No 5 boiler | 1,2 | 339 MMBTU/hr | Multi clone, precipitator |  | Unit was converted from coal to wood as part of BART. Burns mainly wood and some natural gas. This unit combusts the NCGs, so there will always be some SO2 emissions.
|  | 0.45 | 0.4 | PWR06 No 6 boiler | 2,3 | 285 MMBTU/hr | NG/DO
|  | 0.04 | 4.7 | PWR07 No 7 boiler | 3,4 | 276 MMBTU/hr | Natural gas only
Merged Top 50'!A1

## Huntington Ingalls Inc, VA
Huntington Ingalls Incorporated
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Huntington Ingalls Incorporated | VA | 805 | 690 | 3 boilers exhausting one stack, total rating of 135 MMBTU/hr, burning #6 residual oil | 1,1 | 135 MMBTU/hr |  | Facility received a permit on January 11, 2016 to retire the existing boilers, and install NG fired boilers in their place. Facility expects to convert fully to natural gas in 2018.
Merged Top 50'!A1

## Roanoke Cement Company, VA
Roanoke Cement Company
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Roanoke Cement Company | VA | 1917 | 2393 | No 5 Kiln System w/ Raw Mills, Kiln Feed, Preheater/Precalciner/Kiln/Cooler | 4, 22 |  | Lime Injection for SO2 control, ESP | n/a
Merged Top 50'!A1

## RAAP, VA
Radford Army Ammunition Plant (now called RAAP)
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Radford Army Ammunition Plant (now called RAAP) | VA | 0 | 0 | Boiler 1 | 1,1 | 210 MMBTU/hr | ESP | n/a
|  | 578 | 688 | Boiler 2 | 1,2 | 210 MMBTU/hr | ESP | n/a
|  | 809 | 1035 | Boiler 3 | 1,3 | 210 MMBTU/hr | ESP | n/a
|  | 788 | 985 | Boiler 4 | 1,4 | 210 MMBTU/hr | ESP | n/a
|  | 712 | 808 | Boiler 5 | 1,5 | 210 MMBTU/hr | ESP | n/a
Merged Top 50'!A1

## Phillip Morris Park, VA
Philip Morris, Park 500
Updated 1/26/2016 by VA DEQ
Facility Name | State | 2011 SO2 Total (tons) | 2014 SO2 Total (tons) | Primary Emissions Point Description | Point ID (Permit ID No.) | Design Capacity | Existing Control(s) | Propose/ Planned Control(s) | Additional Information
Philip Morris, Park 500 | VA | 5 | 9 | Boiler 2, multi-fuel | 42, 2 in 2011/1002,2 in 2014 | 237 MMBTU/hr |  |  | The three main power boilers operated on coal in 2011. They received a permit to burn natural gas/LPG in 2014. They still may burn coal, but they are unlikely to do so. Current draft 2015 emissions are less than 20 tpy SO2.
|  | 676 | 89 | Boiler 3, multi-fuel | 47, 3 in 2011/1003,1003 in 2014 | 237 MMBTU/hr
|  | n/a not installed | <0.1 | Boiler 1, NG/LPG | 1000,74 | 148.6 MMBTU/hr
Merged Top 50'!A1