## Read Me
Attachment 2
HEDD Trigger Analysis FINAL
June 18, 2007

## Summary
What we are missing and what we are capturing at different power thresholds?
Note: this analysis is based on June 2- Aug 31, 2006 PJM Mid-Atlantic Peak Hourly Day Ahead Load Forecast and NVA - MA ozone exceedance data. (For PA, eastern exceedances only; for NY, downstate exceedances only).
What exceedances are we missing if we set a Trigger of >= 47 GW |  |  |  | What exceedances are we missing if we set a Trigger of >= 48 GW |  |  |  | What exceedances are we missing if we set a Trigger of >= 49 GW
| No. of Days (June 2-Aug) Exceedances Occurring Below 47 GW | Max. 8-Hr Ozone Exceedance Below 47 GW |  |  | No. of Days (June 2-Aug) Exceedances Occurring Below 48 GW | Max. 8-Hr Ozone Exceedance Below 48 GW |  |  | No. of Days (June 2-Aug) Exceedances Occurring Below 49 GW | Max. 8-Hr Ozone Exceedance Below 49 GW
| 2006 | 2006 |  |  | 2006 | 2006 |  |  | 2006 | 2006
NVA | 3 | 90 |  | NVA | 5 | 90 |  | NVA | 6 | 90 |  | NVA | 10 | 10 | 10 | 10 | 10 | 10
DC | 2 | 86 |  | DC | 3 | 90 |  | DC | 3 | 90 |  | DC | 6 | 6 | 6 | 6 | 6 | 6
MD | 4 | 98 |  | MD | 8 | 98 |  | MD | 8 | 98 |  | MD | 16 | 16 | 16 | 16 | 16 | 16
DE | 0 | - |  | DE | 1 | 87 |  | DE | 1 | 87 |  | DE | 5 | 5 | 5 | 5 | 5 | 5
East PA | 1 | 86 |  | East PA | 2 | 103 |  | East PA | 2 | 103 |  | PA | 7 | 7 | 7 | 7 | 7 | 7
NJ | 2 | 93 |  | NJ | 3 | 107 |  | NJ | 3 | 107 |  | NJ | 17 | 17 | 17 | 17 | 17 | 17
South NY | 1 | 92 |  | South NY | 2 | 113 |  | South NY | 2 | 113 |  | NY | 5 | 5 | 5 | 5 | 5 | 5
CT | 0 | - |  | CT | 1 | 119 |  | CT | 1 | 119 |  | CT | 12 | 12 | 12 | 12 | 12 | 12
RI | 0 | - |  | RI | 0 | - |  | RI | 0 | - |  | RI | 3 | 3 | 3 | 3 | 3 | 3
MA | 0 | - |  | MA | 1 | 103 |  | MA | 1 | 119 |  | MA | 12 | 12 | 12 | 12 | 12 | 12
What do we capture with a Trigger of >= 47 GW? |  |  |  | What do we capture with a Trigger of >= 48 GW? |  |  |  | What do we capture with a Trigger of >= 49 GW?
| No. of Days (June 2-Aug) Exceedances Occurring Above 47 GW | Regionally |  |  | No. of Days (June 2-Aug) Exceedances Occurring Above 48 GW | Regionally |  |  | No. of Days (June 2-Aug) Exceedances Occurring Above 49 GW | Regionally
| 2006 | June 2-Aug, 2006 |  |  | 2006 | June 2-Aug, 2006 |  |  | 2006 | June 2-Aug, 2006
NVA | 7 | No. of summer days above 47 GW | 49 | NVA | 5 | No. of summer days above 49 GW | 42 | NVA | 4 | No. of summer days above 49 GW | 37
DC | 4 |  |  | DC | 3 |  |  | DC | 3
MD | 12 |  |  | MD | 8 |  |  | MD | 8
DE | 5 | No. of ozone exceedance days captured | 26 | DE | 4 | No. of ozone exceedance days captured | 21 | DE | 4 | No. of ozone exceedance days captured | 20
East PA | 6 |  |  | East PA | 5 |  |  | East PA | 5
NJ | 15 |  |  | NJ | 14 |  |  | NJ | 14
South NY | 4 | No. of false posititve days | 23 | South NY | 3 | No. of false posititve days | 21 | South NY | 3 | No. of false posititve days | 17
CT | 12 |  |  | CT | 11 |  |  | CT | 11
RI | 3 | No. of ozone exceedance days NOT captured | 6 | RI | 3 | No. of ozone exceedance days NOT captured | 11 | RI | 3 | No. of ozone exceedance days NOT captured | 12
MA | 12 |  |  | MA | 11 |  |  | MA | 11
What exceedances are we missing if we set a Trigger of >= 50 GW |  |  |  | What exceedances are we missing if we set a Trigger of >= 51 GW |  |  |  | What exceedances are we missing if we set a Trigger of >= 52 GW?
| No. of Days (June 2-Aug) Exceedances Occurring Below 50 GW | Max. 8-Hr Ozone Exceedance Below 50 GW |  |  | No. of Days (June 2-Aug) Exceedances Occurring Below 51 GW | Max. 8-Hr Ozone Exceedance Below 51 GW |  |  | No. of Days (June 2-Aug) Exceedances Occurring Below 52 GW | Max. 8-Hr Ozone Exceedance Below 52 GW
| 2006 | 2006 |  |  | 2006 | 2006 |  |  | 2006 | 2006
NVA | 6 | 90 |  | NVA | 6 | 90 |  | NVA | 6 | 90
DC | 3 | 90 |  | DC | 3 | 90 |  | DC | 3 | 90
MD | 9 | 98 |  | MD | 9 | 101 |  | MD | 10 | 101
DE | 1 | 87 |  | DE | 1 | 90 |  | DE | 2 | 90
East PA | 2 | 103 |  | East PA | 2 | 103 |  | East PA | 3 | 103
NJ | 6 | 107 |  | NJ | 7 | 107 |  | NJ | 8 | 107
South NY | 3 | 113 |  | South NY | 3 | 113 |  | South NY | 3 | 113
CT | 2 | 119 |  | CT | 3 | 119 |  | CT | 5 | 119
RI | 0 | - |  | RI | 0 | - |  | RI | 0 | -
MA | 2 | 119 |  | MA | 3 | 119 |  | MA | 5 | 119
What do we capture with a Trigger of >= 50 GW? |  |  |  | What do we capture with a Trigger of >= 51 GW? |  |  |  | What do we capture with a Trigger of >= 52 GW?
| No. of Days (June 2-Aug) Exceedances Occurring Above 50 GW | Regionally |  |  | No. of Days (June 2-Aug) Exceedances Occurring Above 51 GW | Regionally |  |  | No. of Days (June 2-Aug) Exceedances Occurring Above 52 GW | Regionally
| 2006 | June 2-Aug, 2006 |  |  | 2006 | June 2-Aug, 2006 |  |  | 2006 | June 2-Aug, 2006
NVA | 4 | No. of summer days above 50 GW | 32 | NVA | 4 | No. of summer days above 51 GW | 26 | NVA | 4 | No. of summer days above 52 GW | 17
DC | 3 |  |  | DC | 3 |  |  | DC | 3
MD | 7 |  |  | MD | 7 |  |  | MD | 6
DE | 4 | No. of ozone exceedance days captured | 16 | DE | 4 | No. of ozone exceedance days captured | 14 | DE | 3 | No. of ozone exceedance days captured | 12
East PA | 5 |  |  | East PA | 5 |  |  | East PA | 4
NJ | 11 |  |  | NJ | 10 |  |  | NJ | 9
South NY | 2 | No. of false posititve days | 16 | South NY | 2 | No. of false posititve days | 12 | South NY | 2 | No. of false posititve days | 5
CT | 10 |  |  | CT | 9 |  |  | CT | 7
RI | 3 | No. of ozone exceedance days NOT captured | 16 | RI | 3 | No. of ozone exceedance days NOT captured | 18 | RI | 3 | No. of ozone exceedance days NOT captured | 20
MA | 10 |  |  | MA | 9 |  |  | MA | 7

## O3ExcByState
State | Monitor | Exceedance Month | Exceedance Date | Exceedance Year | Exceedance Value (ppb) | Date | not included in this analysis-no load forecast data available
CT | E. Hartford | 5 | 29 | 2006 | 86 | 2006-05-29 | red >52GW
CT | Middletown | 5 | 29 | 2006 | 86 | 2006-05-29 | blue >51 <52 GW
CT | Cornwall | 6 | 18 | 2006 | 94 | 2006-06-18 | green >50 <51 GW | weekend
CT | Danbury | 6 | 18 | 2006 | 103 | 2006-06-18 | pink >49 <50 GW | weekend
CT | E. Hartford | 6 | 18 | 2006 | 111 | 2006-06-18 | orange >48 <49 GW | weekend
CT | Greenwich | 6 | 18 | 2006 | 99 | 2006-06-18 | purple >47 <48 GW | weekend
CT | Madison | 6 | 18 | 2006 | 95 | 2006-06-18 | black <47 GW | weekend
CT | Middletown | 6 | 18 | 2006 | 110 | 2006-06-18 |  | weekend
CT | New Haven C. | 6 | 18 | 2006 | 100 | 2006-06-18 |  | weekend
CT | Stafford | 6 | 18 | 2006 | 105 | 2006-06-18 |  | weekend
CT | Stratford | 6 | 18 | 2006 | 97 | 2006-06-18 |  | weekend
CT | Westport | 6 | 18 | 2006 | 119 | 2006-06-18 |  | weekend
CT | Cornwall | 6 | 19 | 2006 | 100 | 2006-06-19
CT | Danbury | 6 | 19 | 2006 | 98 | 2006-06-19
CT | E. Hartford | 6 | 19 | 2006 | 98 | 2006-06-19
CT | Middletown | 6 | 19 | 2006 | 89 | 2006-06-19
CT | Stafford | 6 | 19 | 2006 | 96 | 2006-06-19
CT | Cornwall | 6 | 22 | 2006 | 89 | 2006-06-22
CT | Danbury | 6 | 22 | 2006 | 87 | 2006-06-22
CT | E. Hartford | 6 | 22 | 2006 | 87 | 2006-06-22
CT | Middletown | 6 | 22 | 2006 | 94 | 2006-06-22
CT | Stafford | 6 | 22 | 2006 | 100 | 2006-06-22
CT | Westport | 6 | 22 | 2006 | 89 | 2006-06-22
CT | Madison | 7 | 2 | 2006 | 85 | 2006-07-02 |  | weekend
CT | Stratford | 7 | 2 | 2006 | 86 | 2006-07-02 |  | weekend
CT | Cornwall | 7 | 10 | 2006 | 85 | 2006-07-10
CT | Greenwich | 7 | 17 | 2006 | 100 | 2006-07-17
CT | Madison | 7 | 17 | 2006 | 86 | 2006-07-17
CT | Middletown | 7 | 17 | 2006 | 98 | 2006-07-17
CT | Stratford | 7 | 17 | 2006 | 110 | 2006-07-17
CT | Westport | 7 | 17 | 2006 | 109 | 2006-07-17
CT | Greenwich | 7 | 18 | 2006 | 99 | 2006-07-18
CT | Groton | 7 | 18 | 2006 | 110 | 2006-07-18
CT | Madison | 7 | 18 | 2006 | 114 | 2006-07-18
CT | Stratford | 7 | 18 | 2006 | 99 | 2006-07-18
CT | Westport | 7 | 18 | 2006 | 102 | 2006-07-18
CT | Danbury | 7 | 26 | 2006 | 88 | 2006-07-26
CT | Greenwich | 8 | 1 | 2006 | 97 | 2006-08-01
CT | Groton | 8 | 1 | 2006 | 90 | 2006-08-01
CT | Stratford | 8 | 1 | 2006 | 93 | 2006-08-01
CT | Greenwich | 8 | 2 | 2006 | 92 | 2006-08-02
CT | Groton | 8 | 2 | 2006 | 100 | 2006-08-02
CT | Madison | 8 | 2 | 2006 | 100 | 2006-08-02
CT | Stratford | 8 | 2 | 2006 | 95 | 2006-08-02
CT | Westport | 8 | 2 | 2006 | 87 | 2006-08-02
CT | Groton | 8 | 3 | 2006 | 92 | 2006-08-03
CT | Madison | 8 | 3 | 2006 | 95 | 2006-08-03
CT | Stratford | 8 | 3 | 2006 | 87 | 2006-08-03
CT | Stafford | 8 | 7 | 2006 | 89 | 2006-08-07
CT | Westport | 8 | 7 | 2006 | 86 | 2006-08-07
DC | McMillan | 5 | 29 | 2006 | 88 | 2006-05-29
DC | River Terrace | 5 | 29 | 2006 | 86 | 2006-05-29
DC | McMillan | 5 | 30 | 2006 | 102 | 2006-05-30
DC | River Terrace | 5 | 30 | 2006 | 93 | 2006-05-30
DC | Takoma | 5 | 30 | 2006 | 86 | 2006-05-30
DC | McMillan | 5 | 31 | 2006 | 87 | 2006-05-31
DC | Takoma | 5 | 31 | 2006 | 85 | 2006-05-31
DC | McMillan | 6 | 1 | 2006 | 85 | 2006-06-01
DC | Takoma | 6 | 1 | 2006 | 85 | 2006-06-01
DC | McMillan | 7 | 17 | 2006 | 91 | 2006-07-17
DC | River Terrace | 7 | 17 | 2006 | 87 | 2006-07-17
DC | McMillan | 7 | 18 | 2006 | 96 | 2006-07-18
DC | River Terrace | 7 | 18 | 2006 | 93 | 2006-07-18
DC | McMillan | 7 | 19 | 2006 | 87 | 2006-07-19
DC | McMillan | 8 | 23 | 2006 | 90 | 2006-08-23
DC | River Terrace | 8 | 23 | 2006 | 85 | 2006-08-23
DC | River Terrace | 8 | 24 | 2006 | 86 | 2006-08-24
DC | River Terrace | 8 | 25 | 2006 | 87 | 2006-08-25
DE | Brandywine | 5 | 30 | 2006 | 93 | 2006-05-30
DE | Felton (Killens) | 5 | 30 | 2006 | 86 | 2006-05-30
DE | Lewes | 5 | 30 | 2006 | 85 | 2006-05-30
DE | Summit Bridge (Lums) | 5 | 30 | 2006 | 95 | 2006-05-30
DE | Bellefonte | 6 | 22 | 2006 | 88 | 2006-06-22
DE | Brandywine | 6 | 22 | 2006 | 90 | 2006-06-22
DE | Summit Bridge (Lums) | 6 | 22 | 2006 | 89 | 2006-06-22
DE | Felton (Killens) | 7 | 18 | 2006 | 89 | 2006-07-18
DE | Felton (Killens) | 8 | 2 | 2006 | 85 | 2006-08-02
DE | Felton (Killens) | 8 | 3 | 2006 | 88 | 2006-08-03
DE | Lewes | 8 | 3 | 2006 | 88 | 2006-08-03
DE | Seaford | 8 | 3 | 2006 | 89 | 2006-08-03
DE | Lewes | 8 | 23 | 2006 | 87 | 2006-08-23
MA | Chicopee | 6 | 18 | 2006 | 102 | 2006-06-18 |  | weekend
MA | Milton-Blue Hill | 6 | 18 | 2006 | 86 | 2006-06-18 |  | weekend
MA | Ware | 6 | 18 | 2006 | 103 | 2006-06-18 |  | weekend
MA | Amherst | 6 | 19 | 2006 | 102 | 2006-06-19
MA | Chicopee | 6 | 19 | 2006 | 119 | 2006-06-19
MA | Haverhill | 6 | 19 | 2006 | 90 | 2006-06-19
MA | Lynn | 6 | 19 | 2006 | 86 | 2006-06-19
MA | Milton-Blue Hill | 6 | 19 | 2006 | 85 | 2006-06-19
MA | New-bury | 6 | 19 | 2006 | 86 | 2006-06-19
MA | Ware | 6 | 19 | 2006 | 110 | 2006-06-19
MA | Worchester | 6 | 19 | 2006 | 91 | 2006-06-19
MA | Boston-Long Is. | 6 | 22 | 2006 | 85 | 2006-06-22
MA | Chicopee | 6 | 22 | 2006 | 91 | 2006-06-22
MA | Ware | 6 | 22 | 2006 | 98 | 2006-06-22
MA | Worchester | 6 | 22 | 2006 | 91 | 2006-06-22
MA | Chicopee | 7 | 10 | 2006 | 85 | 2006-07-10
MA | Fairhaven | 7 | 17 | 2006 | 85 | 2006-07-17
MA | Fairhaven | 7 | 18 | 2006 | 107 | 2006-07-18
MA | Milton - Blue Hill | 7 | 18 | 2006 | 87 | 2006-07-18
MA | Truro | 7 | 18 | 2006 | 104 | 2006-07-18
MA | Chicopee | 7 | 27 | 2006 | 90 | 2006-07-27
MA | Martha's Vinyard | 7 | 29 | 2006 | 89 | 2006-07-29 |  | weekend
MA | Fairhaven | 8 | 1 | 2006 | 104 | 2006-08-01
MA | Martha's Vinyard | 8 | 1 | 2006 | 112 | 2006-08-01
MA | Truro | 8 | 1 | 2006 | 105 | 2006-08-01
MA | Fairhaven | 8 | 2 | 2006 | 89 | 2006-08-02
MA | Martha's Vinyard | 8 | 2 | 2006 | 111 | 2006-08-02
MA | Truro | 8 | 2 | 2006 | 96 | 2006-08-02
MA | Martha's Vinyard | 8 | 3 | 2006 | 101 | 2006-08-03
MA | Ware | 8 | 7 | 2006 | 86 | 2006-08-07
MD | Fairhill | 5 | 29 | 2006 | 92 | 2006-05-29
MD | HU-Beltsville | 5 | 29 | 2006 | 85 | 2006-05-29
MD | Aldino | 5 | 30 | 2006 | 94 | 2006-05-30
MD | Davidsonville | 5 | 30 | 2006 | 92 | 2006-05-30
MD | Edgewood | 5 | 30 | 2006 | 103 | 2006-05-30
MD | Essex | 5 | 30 | 2006 | 105 | 2006-05-30
MD | Fairhill | 5 | 30 | 2006 | 101 | 2006-05-30
MD | HU-Beltsville | 5 | 30 | 2006 | 95 | 2006-05-30
MD | Millington | 5 | 30 | 2006 | 97 | 2006-05-30
MD | PG Equestrian Center | 5 | 30 | 2006 | 85 | 2006-05-30
MD | Frederick Airport | 5 | 31 | 2006 | 88 | 2006-05-31
MD | Rockville | 5 | 31 | 2006 | 101 | 2006-05-31
MD | South Carroll | 5 | 31 | 2006 | 104 | 2006-05-31
MD | HU-Beltsville | 6 | 1 | 2006 | 98 | 2006-06-01
MD | Rockville | 6 | 1 | 2006 | 90 | 2006-06-01
MD | Padonia | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
MD | Rockville | 6 | 17 | 2006 | 91 | 2006-06-17 |  | weekend
MD | Aldino | 6 | 18 | 2006 | 91 | 2006-06-18 |  | weekend
MD | Edgewood | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
MD | Fairhill | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
MD | Frederick Airport | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
MD | HU-Beltsville | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
MD | Padonia | 6 | 18 | 2006 | 95 | 2006-06-18 |  | weekend
MD | Davidsonville | 6 | 21 | 2006 | 94 | 2006-06-21
MD | Edgewood | 6 | 21 | 2006 | 95 | 2006-06-21
MD | Essex | 6 | 21 | 2006 | 86 | 2006-06-21
MD | PG Equestrian Center | 6 | 21 | 2006 | 96 | 2006-06-21
MD | Aldino | 6 | 22 | 2006 | 90 | 2006-06-22
MD | Edgewood | 6 | 22 | 2006 | 94 | 2006-06-22
MD | Essex | 6 | 22 | 2006 | 85 | 2006-06-22
MD | Fairhill | 6 | 22 | 2006 | 101 | 2006-06-22
MD | Millington | 6 | 22 | 2006 | 88 | 2006-06-22
MD | Aldino | 7 | 11 | 2006 | 90 | 2006-07-11
MD | Edgewood | 7 | 11 | 2006 | 87 | 2006-07-11
MD | HU-Beltsville | 7 | 11 | 2006 | 86 | 2006-07-11
MD | Davidsonville | 7 | 17 | 2006 | 94 | 2006-07-17
MD | Edgewood | 7 | 17 | 2006 | 95 | 2006-07-17
MD | Essex | 7 | 17 | 2006 | 91 | 2006-07-17
MD | PG Equestrian Center | 7 | 17 | 2006 | 100 | 2006-07-17
MD | Southern Maryland | 7 | 17 | 2006 | 99 | 2006-07-17
MD | Aldino | 7 | 18 | 2006 | 85 | 2006-07-18
MD | Davidsonville | 7 | 18 | 2006 | 105 | 2006-07-18
MD | Edgewood | 7 | 18 | 2006 | 100 | 2006-07-18
MD | Essex | 7 | 18 | 2006 | 110 | 2006-07-18
MD | PG Equestrian Center | 7 | 18 | 2006 | 102 | 2006-07-18
MD | Southern Maryland | 7 | 18 | 2006 | 94 | 2006-07-18
MD | Barstow / Calvert Co | 7 | 31 | 2006 | 86 | 2006-07-31
MD | Essex | 7 | 31 | 2006 | 87 | 2006-07-31
MD | Davidsonville | 8 | 1 | 2006 | 85 | 2006-08-01
MD | PG Equestrian Center | 8 | 1 | 2006 | 94 | 2006-08-01
MD | Rockville | 8 | 6 | 2006 | 88 | 2006-08-06 |  | weekend
MD | Aldino | 8 | 7 | 2006 | 92 | 2006-08-07
MD | Edgewood | 8 | 7 | 2006 | 89 | 2006-08-07
MD | Fairhill | 8 | 7 | 2006 | 96 | 2006-08-07
MD | Frederick Airport | 8 | 18 | 2006 | 86 | 2006-08-18
MD | Hagerstown | 8 | 18 | 2006 | 85 | 2006-08-18
MD | Edgewood | 8 | 22 | 2006 | 87 | 2006-08-22
MD | Essex | 8 | 22 | 2006 | 88 | 2006-08-22
MD | Barstow / Calvert Co | 8 | 23 | 2006 | 90 | 2006-08-23
MD | Davidsonville | 8 | 23 | 2006 | 90 | 2006-08-23
MD | Southern Maryland | 8 | 23 | 2006 | 89 | 2006-08-23
MD | Barstow / Calvert Co | 8 | 24 | 2006 | 87 | 2006-08-24
MD | Davidsonville | 8 | 24 | 2006 | 86 | 2006-08-24
MD | Essex | 8 | 24 | 2006 | 85 | 2006-08-24
MD | Southern Maryland | 8 | 24 | 2006 | 85 | 2006-08-24
MD | Edgewood | 8 | 25 | 2006 | 85 | 2006-08-25
MD | Essex | 8 | 25 | 2006 | 98 | 2006-08-25
MD | Frederick Airport | 8 | 25 | 2006 | 85 | 2006-08-25
MD | Furley E.S. Recreation Center | 8 | 25 | 2006 | 85 | 2006-08-25
MD | HU-Beltsville | 8 | 25 | 2006 | 85 | 2006-08-25
MD | PG Equestrian Center | 8 | 25 | 2006 | 95 | 2006-08-25
NJ | Colliers Mills | 5 | 29 | 2006 | 99 | 2006-05-29
NJ | Chester | 5 | 30 | 2006 | 101 | 2006-05-30
NJ | Flemington | 5 | 30 | 2006 | 93 | 2006-05-30
NJ | Rider Univ. | 5 | 30 | 2006 | 91 | 2006-05-30
NJ | Flemington | 6 | 1 | 2006 | 89 | 2006-06-01
NJ | Rider Univ. | 6 | 1 | 2006 | 97 | 2006-06-01
NJ | Rutgers Univ. | 6 | 1 | 2006 | 104 | 2006-06-01
NJ | Chester | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
NJ | Rider Univ. | 6 | 17 | 2006 | 90 | 2006-06-17 |  | weekend
NJ | Rutgers Univ. | 6 | 17 | 2006 | 93 | 2006-06-17 |  | weekend
NJ | Bayonne | 6 | 18 | 2006 | 87 | 2006-06-18 |  | weekend
NJ | Camden | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
NJ | Chester | 6 | 18 | 2006 | 91 | 2006-06-18 |  | weekend
NJ | Ramapo | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
NJ | Rider Univ. | 6 | 18 | 2006 | 104 | 2006-06-18 |  | weekend
NJ | Rutgers Univ. | 6 | 18 | 2006 | 107 | 2006-06-18 |  | weekend
NJ | Teaneck | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
NJ | Ramapo | 6 | 19 | 2006 | 86 | 2006-06-19
NJ | Rider Univ. | 6 | 19 | 2006 | 85 | 2006-06-19
NJ | Rutgers Univ. | 6 | 19 | 2006 | 86 | 2006-06-19
NJ | Teaneck | 6 | 19 | 2006 | 90 | 2006-06-19
NJ | Ancora St. Hosp. | 6 | 22 | 2006 | 86 | 2006-06-22
NJ | Camden | 6 | 22 | 2006 | 92 | 2006-06-22
NJ | Clarksboro | 6 | 22 | 2006 | 88 | 2006-06-22
NJ | Colliers Mills | 6 | 22 | 2006 | 88 | 2006-06-22
NJ | Rutgers Univ. | 6 | 22 | 2006 | 90 | 2006-06-22
NJ | Chester | 6 | 29 | 2006 | 86 | 2006-06-29
NJ | Chester | 7 | 1 | 2006 | 85 | 2006-07-01 |  | weekend
NJ | Colliers Mills | 7 | 2 | 2006 | 87 | 2006-07-02 |  | weekend
NJ | Monmouth Univ. | 7 | 2 | 2006 | 89 | 2006-07-02 |  | weekend
NJ | Colliers Mills | 7 | 3 | 2006 | 88 | 2006-07-03
NJ | Bayonne | 7 | 11 | 2006 | 92 | 2006-07-11
NJ | Flemington | 7 | 11 | 2006 | 88 | 2006-07-11
NJ | Rider Univ. | 7 | 11 | 2006 | 90 | 2006-07-11
NJ | Rutgers Univ. | 7 | 11 | 2006 | 99 | 2006-07-11
NJ | Ancora St. Hosp. | 7 | 17 | 2006 | 116 | 2006-07-17
NJ | Bayonne | 7 | 17 | 2006 | 92 | 2006-07-17
NJ | Camden | 7 | 17 | 2006 | 87 | 2006-07-17
NJ | Chester | 7 | 17 | 2006 | 93 | 2006-07-17
NJ | Clarksboro | 7 | 17 | 2006 | 91 | 2006-07-17
NJ | Colliers Mills | 7 | 17 | 2006 | 94 | 2006-07-17
NJ | Millville | 7 | 17 | 2006 | 87 | 2006-07-17
NJ | Monmouth Univ. | 7 | 17 | 2006 | 92 | 2006-07-17
NJ | Teaneck | 7 | 17 | 2006 | 86 | 2006-07-17
NJ | Ancora St. Hosp. | 7 | 18 | 2006 | 112 | 2006-07-18
NJ | Bayonne | 7 | 18 | 2006 | 93 | 2006-07-18
NJ | Camden | 7 | 18 | 2006 | 90 | 2006-07-18
NJ | Chester | 7 | 18 | 2006 | 99 | 2006-07-18
NJ | Clarksboro | 7 | 18 | 2006 | 89 | 2006-07-18
NJ | Colliers Mills | 7 | 18 | 2006 | 100 | 2006-07-18
NJ | Flemington | 7 | 18 | 2006 | 87 | 2006-07-18
NJ | Millville | 7 | 18 | 2006 | 97 | 2006-07-18
NJ | Monmouth Univ. | 7 | 18 | 2006 | 102 | 2006-07-18
NJ | Nacote Creek | 7 | 18 | 2006 | 94 | 2006-07-18
NJ | Rider Univ. | 7 | 18 | 2006 | 85 | 2006-07-18
NJ | Rutgers Univ. | 7 | 18 | 2006 | 94 | 2006-07-18
NJ | Teaneck | 7 | 18 | 2006 | 93 | 2006-07-18
NJ | Chester | 7 | 19 | 2006 | 90 | 2006-07-19
NJ | Chester | 7 | 26 | 2006 | 86 | 2006-07-26
NJ | Flemington | 7 | 26 | 2006 | 85 | 2006-07-26
NJ | Ancora St. Hosp. | 8 | 1 | 2006 | 94 | 2006-08-01
NJ | Bayonne | 8 | 1 | 2006 | 87 | 2006-08-01
NJ | Colliers Mills | 8 | 1 | 2006 | 90 | 2006-08-01
NJ | Ancora St. Hosp. | 8 | 2 | 2006 | 86 | 2006-08-02
NJ | Bayonne | 8 | 2 | 2006 | 86 | 2006-08-02
NJ | Chester | 8 | 2 | 2006 | 90 | 2006-08-02
NJ | Colliers Mills | 8 | 2 | 2006 | 92 | 2006-08-02
NJ | Monmouth Univ. | 8 | 2 | 2006 | 88 | 2006-08-02
NJ | Ancora St. Hosp. | 8 | 3 | 2006 | 87 | 2006-08-03
NJ | Colliers Mills | 8 | 3 | 2006 | 88 | 2006-08-03
NJ | Monmouth Univ. | 8 | 5 | 2006 | 86 | 2006-08-05 |  | weekend
NY | Susan Wagner | 6 | 17 | 2006 | 92 | 2006-06-17 |  | weekend
NY | Botanical Gdn. | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
NY | IS 52 | 6 | 18 | 2006 | 99 | 2006-06-18 |  | weekend
NY | Susan Wagner | 6 | 18 | 2006 | 113 | 2006-06-18 |  | weekend
NY | White Plains | 6 | 18 | 2006 | 112 | 2006-06-18 |  | weekend
NY | Mt. Ninham | 6 | 19 | 2006 | 94 | 2006-06-19
NY | Susan Wagner | 6 | 19 | 2006 | 85 | 2006-06-19
NY | White Plains | 6 | 19 | 2006 | 87 | 2006-06-19
NY | Babylon | 7 | 17 | 2006 | 93 | 2006-07-17
NY | Botanical Gdn. | 7 | 17 | 2006 | 89 | 2006-07-17
NY | Holtsville | 7 | 17 | 2006 | 90 | 2006-07-17
NY | Queens College 2 | 7 | 17 | 2006 | 86 | 2006-07-17
NY | Riverhead | 7 | 17 | 2006 | 101 | 2006-07-17
NY | Susan Wagner | 7 | 17 | 2006 | 98 | 2006-07-17
NY | Babylon | 7 | 18 | 2006 | 107 | 2006-07-18
NY | Botanical Gdn. | 7 | 18 | 2006 | 95 | 2006-07-18
NY | Holtsville | 7 | 18 | 2006 | 116 | 2006-07-18
NY | Queens College 2 | 7 | 18 | 2006 | 89 | 2006-07-18
NY | Riverhead | 7 | 18 | 2006 | 130 | 2006-07-18
NY | Susan Wagner | 7 | 18 | 2006 | 96 | 2006-07-18
PA | Bristol | 5 | 29 | 2006 | 88 | 2006-05-29
PA | Allentown | 5 | 30 | 2006 | 89 | 2006-05-30
PA | Bristol | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Easton | 5 | 30 | 2006 | 99 | 2006-05-30
PA | Freemansburg | 5 | 30 | 2006 | 96 | 2006-05-30
PA | Lancaster | 5 | 30 | 2006 | 88 | 2006-05-30
PA | New Garden (Airport) | 5 | 30 | 2006 | 100 | 2006-05-30
PA | Norristown | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Northeast (Airport) | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Northwest (Roxborough) | 5 | 30 | 2006 | 85 | 2006-05-30
PA | Allentown | 5 | 31 | 2006 | 92 | 2006-05-31
PA | Freemansburg | 5 | 31 | 2006 | 87 | 2006-05-31
PA | Bristol | 6 | 1 | 2006 | 93 | 2006-06-01
PA | Northeast (Airport) | 6 | 1 | 2006 | 85 | 2006-06-01
PA | Bristol | 6 | 17 | 2006 | 86 | 2006-06-17 |  | weekend
PA | Hershey | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
PA | Allentown | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
PA | Bristol | 6 | 18 | 2006 | 103 | 2006-06-18 |  | weekend
PA | Easton | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
PA | Freemansburg | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
PA | Harrisburg | 6 | 18 | 2006 | 87 | 2006-06-18 |  | weekend
PA | Hershey | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
PA | Lancaster | 6 | 18 | 2006 | 93 | 2006-06-18 |  | weekend
PA | Northeast (Airport) | 6 | 18 | 2006 | 96 | 2006-06-18 |  | weekend
PA | Reading | 6 | 18 | 2006 | 86 | 2006-06-18 |  | weekend
PA | Chester | 6 | 22 | 2006 | 92 | 2006-06-22
PA | New Garden (Airport) | 6 | 22 | 2006 | 89 | 2006-06-22
PA | Chester | 7 | 17 | 2006 | 90 | 2006-07-17
PA | Lancaster | 7 | 17 | 2006 | 86 | 2006-07-17
PA | Norristown | 7 | 17 | 2006 | 86 | 2006-07-17
PA | Northeast (Airport) | 7 | 17 | 2006 | 85 | 2006-07-17
PA | Southwest (Elmwood) | 7 | 17 | 2006 | 85 | 2006-07-17
PA | Bristol | 7 | 18 | 2006 | 87 | 2006-07-18
PA | Lancaster | 7 | 18 | 2006 | 85 | 2006-07-18
PA | Norristown | 7 | 18 | 2006 | 89 | 2006-07-18
PA | Northeast (Airport) | 7 | 18 | 2006 | 87 | 2006-07-18
PA | Southwest (Elmwood) | 7 | 18 | 2006 | 86 | 2006-07-18
PA | Chester | 7 | 19 | 2006 | 87 | 2006-07-19
PA | New Garden (Airport) | 7 | 19 | 2006 | 86 | 2006-07-19
PA | Bristol | 7 | 31 | 2006 | 86 | 2006-07-31
RI | Narragansett | 7 | 17 | 2006 | 100 | 2006-07-17
RI | E. Providence | 7 | 18 | 2006 | 95 | 2006-07-18
RI | Narragansett | 7 | 18 | 2006 | 130 | 2006-07-18
RI | W. Greenwich | 7 | 18 | 2006 | 91 | 2006-07-18
RI | Narragansett | 8 | 1 | 2006 | 93 | 2006-08-01
VA | Alexandria | 5 | 30 | 2006 | 94 | 2006-05-30
VA | Annandale | 5 | 30 | 2006 | 92 | 2006-05-30
VA | Arlington | 5 | 30 | 2006 | 101 | 2006-05-30
VA | Franconia | 5 | 30 | 2006 | 99 | 2006-05-30
VA | McLean | 5 | 30 | 2006 | 90 | 2006-05-30
VA | Mount Vernon | 5 | 30 | 2006 | 94 | 2006-05-30
VA | Prince William | 5 | 30 | 2006 | 96 | 2006-05-30
VA | Annandale | 5 | 31 | 2006 | 85 | 2006-05-31
VA | Arlington | 5 | 31 | 2006 | 85 | 2006-05-31
VA | Chantilly | 5 | 31 | 2006 | 88 | 2006-05-31
VA | Loudoun | 5 | 31 | 2006 | 102 | 2006-05-31
VA | McLean | 5 | 31 | 2006 | 92 | 2006-05-31
VA | Prince William | 5 | 31 | 2006 | 98 | 2006-05-31
VA | McLean | 6 | 1 | 2006 | 86 | 2006-06-01
VA | McLean | 6 | 17 | 2006 | 87 | 2006-06-17 |  | weekend
VA | Alexandria | 7 | 17 | 2006 | 98 | 2006-07-17
VA | Annandale | 7 | 17 | 2006 | 87 | 2006-07-17
VA | Arlington | 7 | 17 | 2006 | 95 | 2006-07-17
VA | Franconia | 7 | 17 | 2006 | 107 | 2006-07-17
VA | McLean | 7 | 17 | 2006 | 88 | 2006-07-17
VA | Mount Vernon | 7 | 17 | 2006 | 116 | 2006-07-17
VA | Alexandria | 7 | 18 | 2006 | 118 | 2006-07-18
VA | Arlington | 7 | 18 | 2006 | 97 | 2006-07-18
VA | Franconia | 7 | 18 | 2006 | 109 | 2006-07-18
VA | Mount Vernon | 7 | 18 | 2006 | 125 | 2006-07-18
VA | Arlington | 7 | 19 | 2006 | 85 | 2006-07-19
VA | Chantilly | 7 | 19 | 2006 | 86 | 2006-07-19
VA | Franconia | 7 | 19 | 2006 | 85 | 2006-07-19
VA | Loudoun | 7 | 19 | 2006 | 88 | 2006-07-19
VA | McLean | 7 | 19 | 2006 | 100 | 2006-07-19
VA | Mount Vernon | 8 | 1 | 2006 | 88 | 2006-08-01
VA | Franconia | 8 | 16 | 2006 | 85 | 2006-08-16
VA | Prince William | 8 | 17 | 2006 | 86 | 2006-08-17
VA | Franconia | 8 | 23 | 2006 | 87 | 2006-08-23
VA | Mount Vernon | 8 | 23 | 2006 | 87 | 2006-08-23
VA | Annandale | 8 | 25 | 2006 | 85 | 2006-08-25
VA | Franconia | 8 | 25 | 2006 | 86 | 2006-08-25
VA | Mount Vernon | 8 | 25 | 2006 | 88 | 2006-08-25
VA | Prince William | 8 | 26 | 2006 | 90 | 2006-08-26 |  | weekend

## 7Day-Actual-BidIn
| Peak Hourly Day Ahead Load Forecast | Actual Useage | Forecast /Actual | Aver. Hourly Day Ahead Bid-In Forecast | Forecast /Bid-in
2006-06-02 | 38591 | 44384.394 | 0.86947 | 37002 | 1.0429
2006-06-03 | 31679 | 33866.636 | 0.9354 | 30829 | 1.0276
2006-06-04 | 30559 | 31305.798 | 0.97615 | 28981 | 1.0544
2006-06-05 | 33284 | 35221.333 | 0.945 | 33457 | 0.99483
2006-06-06 | 37168 | 36763.641 | 1.011 | 30663 | 1.2121
2006-06-07 | 36333 | 35609.189 | 1.0203 | 31993 | 1.1357
2006-06-08 | 36640 | 36525.97 | 1.0031 | 31571 | 1.1606
2006-06-09 | 35399 | 37537.193 | 0.94304 | 32221 | 1.0986
2006-06-10 | 31425 | 29729.098 | 1.057 | 28646 | 1.097
2006-06-11 | 30076 | 29995.177 | 1.0027 | 27128 | 1.1087
2006-06-12 | 34218 | 34199.406 | 1.0005 | 33540 | 1.0202
2006-06-13 | 41105 | 39202.25 | 1.0485 | 34034 | 1.2078
2006-06-14 | 40601 | 38349.068 | 1.0587 | 33087 | 1.2271
2006-06-15 | 40318 | 38656.382 | 1.043 | 34916 | 1.1547
2006-06-16 | 42730 | 41280.486 | 1.0351 | 35330 | 1.2095
2006-06-17 | 42260 | 39798.069 | 1.0619 | 36438 | 1.1598
2006-06-18 | 47667 | 46183.861 | 1.0321 | 39077 | 1.2198
2006-06-19 | 49665 | 50747.573 | 0.97867 | 43443 | 1.1432
2006-06-20 | 48340 | 47635.714 | 1.0148 | 39965 | 1.2096
2006-06-21 | 46337 | 47767.618 | 0.97005 | 37200 | 1.2456
2006-06-22 | 51123 | 52049.989 | 0.98219 | 40706 | 1.2559
2006-06-23 | 50149 | 48062.293 | 1.0434 | 39302 | 1.276
2006-06-24 | 38435 | 40007.055 | 0.96071 | 32288 | 1.1904
2006-06-25 | 34683 | 36503.646 | 0.95012 | 31208 | 1.1113
2006-06-26 | 44398 | 43358.898 | 1.024 | 34682 | 1.2801
2006-06-27 | 41841 | 44574.933 | 0.93867 | 37286 | 1.1222
2006-06-28 | 48051 | 50063.055 | 0.95981 | 39785 | 1.2078
2006-06-29 | 49413 | 49185.635 | 1.0046 | 39192 | 1.2608
2006-06-30 | 46589 | 43358.088 | 1.0745 | 36843 | 1.2645
2006-07-01 | 46036 | 41453.132 | 1.1106 | 35257 | 1.3057
2006-07-02 | 50823 | 46025.759 | 1.1042 | 36565 | 1.3899
2006-07-03 | 55182 | 49728.314 | 1.1097 | 39272 | 1.4051
2006-07-04 | 52826 | 46583.696 | 1.134 | 35349 | 1.4944
2006-07-05 | 47944 | 43799.658 | 1.0946 | 37472 | 1.2795
2006-07-06 | 41594 | 40225.577 | 1.034 | 34399 | 1.2092
2006-07-07 | 43278 | 40924.447 | 1.0575 | 32507 | 1.3313
2006-07-08 | 41751 | 37968.51 | 1.0996 | 32780 | 1.2737
2006-07-09 | 42240 | 40200.284 | 1.0507 | 33121 | 1.2753
2006-07-10 | 51012 | 48788.323 | 1.0456 | 37566 | 1.3579
2006-07-11 | 52527 | 53753.945 | 0.97717 | 39612 | 1.326
2006-07-12 | 53612 | 51983.895 | 1.0313 | 42186 | 1.2708
2006-07-13 | 51689 | 49067.729 | 1.0534 | 42097 | 1.2279
2006-07-14 | 51818 | 52009.389 | 0.99632 | 40712 | 1.2728
2006-07-15 | 48926 | 44360.889 | 1.1029 | 38893 | 1.258
2006-07-16 | 50305 | 50133.448 | 1.0034 | 38494 | 1.3068
2006-07-17 | 58904 | 59199.873 | 0.995 | 44399 | 1.3267
2006-07-18 | 59777 | 59967.746 | 0.99682 | 46769 | 1.2781
2006-07-19 | 53053 | 53682.33 | 0.98828 | 43028 | 1.233
2006-07-20 | 51862 | 52313.438 | 0.99137 | 39901 | 1.2998
2006-07-21 | 51902 | 54001.024 | 0.96113 | 41473 | 1.2515
2006-07-22 | 44496 | 43980.819 | 1.0117 | 37522 | 1.1859
2006-07-23 | 42899 | 39738.597 | 1.0795 | 35232 | 1.2176
2006-07-24 | 51005 | 48289.306 | 1.0562 | 38268 | 1.3328
2006-07-25 | 51401 | 49530.81 | 1.0378 | 39588 | 1.2984
2006-07-26 | 52775 | 53311.177 | 0.98994 | 41483 | 1.2722
2006-07-27 | 53353 | 55548.712 | 0.96047 | 42893 | 1.2439
2006-07-28 | 53266 | 53605.988 | 0.99366 | 43428 | 1.2265
2006-07-29 | 50508 | 50710.985 | 0.996 | 40769 | 1.2389
2006-07-30 | 52648 | 50803.413 | 1.0363 | 39890 | 1.3198
2006-07-31 | 56725 | 57094.433 | 0.99353 | 44846 | 1.2649
2006-08-01 | 59776 | 61666.735 | 0.96934 | 46803 | 1.2772
2006-08-02 | 60707 | 62016.884 | 0.97888 | 48356 | 1.2554
2006-08-03 | 59749 | 61808.379 | 0.96668 | 49454 | 1.2082
2006-08-04 | 56545 | 54311.452 | 1.0411 | 44390 | 1.2738
2006-08-05 | 49093 | 46778.756 | 1.0495 | 39085 | 1.2561
2006-08-06 | 49217 | 46083.044 | 1.068 | 37395 | 1.3161
2006-08-07 | 55236 | 53773.57 | 1.0272 | 41286 | 1.3379
2006-08-08 | 51035 | 50281.34 | 1.015 | 39529 | 1.2911
2006-08-09 | 48681 | 46676.861 | 1.0429 | 36407 | 1.3371
2006-08-10 | 47221 | 45236.673 | 1.0439 | 37557 | 1.2573
2006-08-11 | 43620 | 41827.974 | 1.0428 | 36093 | 1.2085
2006-08-12 | 34295 | 35661.285 | 0.96169 | 31752 | 1.0801
2006-08-13 | 36169 | 36057.659 | 1.0031 | 30766 | 1.1756
2006-08-14 | 49601 | 47317.082 | 1.0483 | 37531 | 1.3216
2006-08-15 | 50371 | 47875.309 | 1.0521 | 39410 | 1.2781
2006-08-16 | 48102 | 48340.412 | 0.99507 | 37920 | 1.2685
2006-08-17 | 47461 | 47827.388 | 0.99234 | 36897 | 1.2863
2006-08-18 | 47199 | 46155.633 | 1.0226 | 37654 | 1.2535
2006-08-19 | 43851 | 43210.008 | 1.0148 | 35816 | 1.2243
2006-08-20 | 44743 | 46270.262 | 0.96699 | 34473 | 1.2979
2006-08-21 | 46111 | 47553.443 | 0.96967 | 38186 | 1.2075
2006-08-22 | 47526 | 48230.46 | 0.98539 | 38794 | 1.2251
2006-08-23 | 47986 | 48301.06 | 0.99348 | 38191 | 1.2565
2006-08-24 | 43803 | 46480.801 | 0.94239 | 36043 | 1.2153
2006-08-25 | 43861 | 47254.64 | 0.92818 | 37246 | 1.1776
2006-08-26 | 43679 | 37844.295 | 1.1542 | 35633 | 1.2258
2006-08-27 | 39712 | 39030.462 | 1.0175 | 35199 | 1.1282
2006-08-28 | 50802 | 46255.267 | 1.0983 | 38759 | 1.3107
2006-08-29 | 46975 | 45187.622 | 1.0396 | 38902 | 1.2075
2006-08-30 | 40655 | 38717.122 | 1.0501 | 35779 | 1.1363
2006-08-31 | 37477 | 36655.361 | 1.0224 | 33947 | 1.104
Average | 46334.8681 | 45619.7289 | 1.0169 | 37492.7143 | 1.2316
Max |  |  |  |  | 1.4944
Min |  |  |  |  | 0.99483

## 7Day-O3Exc
|  | MAX Day Ahead Forecast | PJM Mid-Atlantic Region | NVA-MA | PJM Mid-Atlantic | [8 empty] | 8-Hour Ozone Max Exceedances (ppb) | [12 empty] | Peak Hourly Day Ahead Forecast | Actual Useage | PJM Mid-Atlantic Region | NVA-MA | PJM Mid-Atlantic | [8 empty] | 8-Hour Ozone Max Exceedances (ppb)
date |  |  | Bid-In Load | O3 Excd | Gen Alert | [20 empty] | date |  |  | Bid-In Load | O3 Excd | Gen Alert
2006-06-01 |  |  | 38.462 | 38.462 |  | 86 | NVA | 85 | DC | 98 | MD | 93 | PA | 104 | NJ | [10 empty] | 2006-08-02 | 60.707 | 62.0169 | 48.356 | 60.707 | Y | 85 | DE | 92 | NJ | 100 | CT | 111 | MA | [13 empty] | Ju-Ju-Aug | >=39GW | >=40GW | >=41GW | >=42GW | >=43GW | >=44GW | >=45GW | >=46GW | >=47GW | >=48GW | >=49GW | >=50GW | >=51GW | >=52GW | >=53GW | >=54GW | >=55GW | >=56GW | >=57GW | >=58GW | >=59GW | >=60GW
2006-06-02 | 2006-06-02 | 38591 | 37.002 | 0 | [21 empty] | 2006-07-18 | 59.777 | 59.9677 | 46.769 | 59.777 | Y | 125 | NVA | 96 | DC | 110 | MD | 89 | DE | 89 | PA | 112 | NJ | 130 | NY | 114 | CT | 130 | RI | 107 | MA | Total No. Days | 91 | 75 | 74 | 71 | 67 | 63 | 57 | 54 | 54 | 49 | 42 | 37 | 32 | 26 | 17 | 13 | 9 | 9 | 7 | 5 | 5 | 4 | 1
2006-06-03 | 2006-06-03 | 31679 | 30.829 | 0 | [21 empty] | 2006-08-01 | 59.776 | 61.6667 | 46.803 | 59.776 | Y | 88 | NVA | 94 | MD | 94 | NJ | 97 | CT | 93.1429 | RI | 112 | MA
2006-06-04 | 2006-06-04 | 30559 | 28.981 | 0 | [21 empty] | 2006-08-03 | 59.749 | 61.8084 | 49.454 | 59.749 | Y | 89 | DE | 88 | NJ | 95 | CT | 101 | MA | [12 empty] | O3 Exc Days-NVA to MA | 32 | 32 | 32 | 32 | 32 | 31 | 28 | 28 | 28 | 26 | 21 | 20 | 16 | 14 | 12 | 10 | 8 | 8 | 6 | 5 | 5 | 4 | 1
2006-06-05 | 2006-06-05 | 33284 | 33.457 | 0 | [21 empty] | 2006-07-17 | 58.904 | 59.1999 | 44.399 | 58.904 | Y | 116 | NVA | 91 | DC | 100 | MD | 90 | PA | 116 | NJ | 101 | NY | 110 | CT | 100.1224 | RI | 85 | MA
2006-06-06 | 2006-06-06 | 37168 | 30.663 | 0 | [21 empty] | 2006-07-31 | 56.725 | 57.0944 | 44.846 | 56.725 | Y | 87 | MD | 86 | PA | [16 empty] | Ratio: Exc Days to Total Days | 0.35165 | 0.42667 | 0.43243 | 0.4507 | 0.47761 | 0.49206 | 0.49123 | 0.51852 | 0.51852 | 0.53061 | 0.5 | 0.54054 | 0.5 | 0.53846 | 0.70588 | 0.76923 | 0.88889 | 0.88889 | 0.85714 | 1 | 1 | 1 | 1
2006-06-07 | 2006-06-07 | 36333 | 31.993 | 0 | [21 empty] | 2006-08-04 | 56.545 | 54.3115 | 44.39 | 0
2006-06-08 | 2006-06-08 | 36640 | 31.571 | 0 | [21 empty] | 2006-08-07 | 55.236 | 53.7736 | 41.286 | 55.236 |  | 96 | MD | 89 | CT | 86 | MA
2006-06-09 | 2006-06-09 | 35399 | 32.221 | 0 | [21 empty] | 2006-07-03 | 55.182 | 49.7283 | 39.272 | 55.182 |  | 88 | NJ
2006-06-10 | 2006-06-10 | 31425 | 28.646 | 0 | [21 empty] | 2006-07-12 | 53.612 | 51.9839 | 42.186 | 0
2006-06-11 | 2006-06-11 | 30076 | 27.128 | 0 | [21 empty] | 2006-07-27 | 53.353 | 55.5487 | 42.893 | 53.353 |  | 90 | MA
2006-06-12 | 2006-06-12 | 34218 | 33.54 | 0 | [21 empty] | 2006-07-28 | 53.266 | 53.606 | 43.428 | 0
2006-06-13 | 2006-06-13 | 41105 | 34.034 | 0 | [21 empty] | 2006-07-19 | 53.053 | 53.6823 | 43.028 | 53.053 |  | 100 | NVA | 87 | DC | 87 | PA | 90 | NJ
2006-06-14 | 2006-06-14 | 40601 | 33.087 | 0 | [21 empty] | 2006-07-04 | 52.826 | 46.5837 | 35.349 | 0
2006-06-15 | 2006-06-15 | 40318 | 34.916 | 0 | [21 empty] | 2006-07-26 | 52.775 | 53.3112 | 41.483 | 52.775 |  | 86 | NJ | 88 | CT
2006-06-16 | 2006-06-16 | 42730 | 35.33 | 0 | [21 empty] | 2006-07-30 | 52.648 | 50.8034 | 39.89 | 0
2006-06-17 | 2006-06-17 | 42260 | 36.438 | 36.438 |  | 87 | NVA | 91 | MD | 86 | PA | 93 | NJ | 92 | NY | [10 empty] | 2006-07-11 | 52.527 | 53.7539 | 39.612 | 52.527 |  | 90 | MD | 99 | NJ
2006-06-18 | 2006-06-18 | 47667 | 39.077 | 39.077 |  | 95 | MD | 103 | PA | 107 | NJ | 113 | NY | 119 | CT | 103 | MA | [8 empty] | 2006-07-21 | 51.902 | 54.001 | 41.473 | 0
2006-06-19 | 2006-06-19 | 49665 | 43.443 | 43.443 |  | 90 | NJ | 94 | NY | 100 | CT | 119 | MA | [12 empty] | 2006-07-20 | 51.862 | 52.3134 | 39.901 | 0
2006-06-20 | 2006-06-20 | 48340 | 39.965 | 0 | [21 empty] | 2006-07-14 | 51.818 | 52.0094 | 40.712 | 0
2006-06-21 | 2006-06-21 | 46337 | 37.2 | 37.2 |  | 96 | MD | [18 empty] | 2006-07-13 | 51.689 | 49.0677 | 42.097 | 0
2006-06-22 | 2006-06-22 | 51123 | 40.706 | 40.706 |  | 101 | MD | 90 | DE | 92 | PA | 92 | NJ | 100 | CT | 98 | MA | [8 empty] | 2006-07-25 | 51.401 | 49.5308 | 39.588 | 0
2006-06-23 | 2006-06-23 | 50149 | 39.302 | 0 | [21 empty] | 2006-06-22 | 51.123 | 52.05 | 40.706 | 51.123 |  | 101 | MD | 90 | DE | 92 | PA | 92 | NJ | 100 | CT | 98 | MA
2006-06-24 | 2006-06-24 | 38435 | 32.288 | 0 | [21 empty] | 2006-08-08 | 51.035 | 50.2813 | 39.529 | 0
2006-06-25 | 2006-06-25 | 34683 | 31.208 | 0 | [21 empty] | 2006-07-10 | 51.012 | 48.7883 | 37.566 | 51.012 |  | 85 | CT | 85 | MA
2006-06-26 | 2006-06-26 | 44398 | 34.682 | 0 | [21 empty] | 2006-07-24 | 51.005 | 48.2893 | 38.268 | 0
2006-06-27 | 2006-06-27 | 41841 | 37.286 | 0 | [21 empty] | 2006-07-02 | 50.823 | 46.0258 | 36.565 | 50.823 |  | 89 | NJ | 86 | CT
2006-06-28 | 2006-06-28 | 48051 | 39.785 | 0 | [21 empty] | 2006-08-28 | 50.802 | 46.2553 | 38.759 | 0
2006-06-29 | 2006-06-29 | 49413 | 39.192 | 39.192 |  | 86 | NJ | [18 empty] | 2006-07-29 | 50.508 | 50.711 | 40.769 | 50.508 |  | 89 | MA
2006-06-30 | 2006-06-30 | 46589 | 36.843 | 0 | [21 empty] | 2006-08-15 | 50.371 | 47.8753 | 39.41 | 0
2006-07-01 | 2006-07-01 | 46036 | 35.257 | 35.257 |  | 85 | NJ | [18 empty] | 2006-07-16 | 50.305 | 50.1334 | 38.494 | 0
2006-07-02 | 2006-07-02 | 50823 | 36.565 | 36.565 |  | 89 | NJ | 86 | CT | [16 empty] | 2006-06-23 | 50.149 | 48.0623 | 39.302 | 0
2006-07-03 | 2006-07-03 | 55182 | 39.272 | 39.272 |  | 88 | NJ | [18 empty] | 2006-06-19 | 49.665 | 50.7476 | 43.443 | 49.665 |  | 90 | NJ | 94 | NY | 100 | CT | 119 | MA
2006-07-04 | 2006-07-04 | 52826 | 35.349 | 0 | [21 empty] | 2006-08-14 | 49.601 | 47.3171 | 37.531 | 0
2006-07-05 | 2006-07-05 | 47944 | 37.472 | 0 | [21 empty] | 2006-06-29 | 49.413 | 49.1856 | 39.192 | 49.413 |  | 86 | NJ
2006-07-06 | 2006-07-06 | 41594 | 34.399 | 0 | [21 empty] | 2006-08-06 | 49.217 | 46.083 | 37.395 | 49.217 |  | 88 | MD
2006-07-07 | 2006-07-07 | 43278 | 32.507 | 0 | [21 empty] | 2006-08-05 | 49.093 | 46.7788 | 39.085 | 49.093 |  | 86 | NJ
2006-07-08 | 2006-07-08 | 41751 | 32.78 | 0 | [21 empty] | 2006-07-15 | 48.926 | 44.3609 | 38.893 | 0
2006-07-09 | 2006-07-09 | 42240 | 33.121 | 0 | [21 empty] | 2006-08-09 | 48.681 | 46.6769 | 36.407 | 0
2006-07-10 | 2006-07-10 | 51012 | 37.566 | 37.566 |  | 85 | CT | 85 | MA | [16 empty] | 2006-06-20 | 48.34 | 47.6357 | 39.965 | 0
2006-07-11 | 2006-07-11 | 52527 | 39.612 | 39.612 |  | 90 | MD | 99 | NJ | [16 empty] | 2006-08-16 | 48.102 | 48.3404 | 37.92 | 48.102 |  | 85 | NVA
2006-07-12 | 2006-07-12 | 53612 | 42.186 | 0 | [21 empty] | 2006-06-28 | 48.051 | 50.0631 | 39.785 | 0
2006-07-13 | 2006-07-13 | 51689 | 42.097 | 0 | [21 empty] | 2006-08-23 | 47.986 | 48.3011 | 38.191 | 47.986 |  | 87 | NVA | 90 | DC | 90 | MD | 87 | DE
2006-07-14 | 2006-07-14 | 51818 | 40.712 | 0 | [21 empty] | 2006-07-05 | 47.944 | 43.7997 | 37.472 | 0
2006-07-15 | 2006-07-15 | 48926 | 38.893 | 0 | [21 empty] | 2006-06-18 | 47.667 | 46.1839 | 39.077 | 47.667 |  | 95 | MD | 103 | PA | 107 | NJ | 113 | NY | 119 | CT | 103 | MA
2006-07-16 | 2006-07-16 | 50305 | 38.494 | 0 | [21 empty] | 2006-08-22 | 47.526 | 48.2305 | 38.794 | 47.526 |  | 88 | MD
2006-07-17 | 2006-07-17 | 58904 | 44.399 | 44.399 | 44.399 | 116 | NVA | 91 | DC | 100 | MD | 90 | PA | 116 | NJ | 101 | NY | 110 | CT | 100.1224 | RI | 85 | MA |  |  | 2006-08-17 | 47.461 | 47.8274 | 36.897 | 47.461 |  | 86 | NVA
2006-07-18 | 2006-07-18 | 59777 | 46.769 | 46.769 | 46.769 | 125 | NVA | 96 | DC | 110 | MD | 89 | DE | 89 | PA | 112 | NJ | 130 | NY | 114 | CT | 130 | RI | 107 | MA | 2006-08-10 | 47.221 | 45.2367 | 37.557 | 0
2006-07-19 | 2006-07-19 | 53053 | 43.028 | 43.028 |  | 100 | NVA | 87 | DC | 87 | PA | 90 | NJ | [12 empty] | 2006-08-18 | 47.199 | 46.1556 | 37.654 | 47.199 |  | 86 | MD
2006-07-20 | 2006-07-20 | 51862 | 39.901 | 0 | [21 empty] | 2006-08-29 | 46.975 | 45.1876 | 38.902 | 0
2006-07-21 | 2006-07-21 | 51902 | 41.473 | 0 | [21 empty] | 2006-06-30 | 46.589 | 43.3581 | 36.843 | 0
2006-07-22 | 2006-07-22 | 44496 | 37.522 | 0 | [21 empty] | 2006-06-21 | 46.337 | 47.7676 | 37.2 | 46.337 |  | 96 | MD
2006-07-23 | 2006-07-23 | 42899 | 35.232 | 0 | [21 empty] | 2006-08-21 | 46.111 | 47.5534 | 38.186 | 0
2006-07-24 | 2006-07-24 | 51005 | 38.268 | 0 | [21 empty] | 2006-07-01 | 46.036 | 41.4531 | 35.257 | 46.036 |  | 85 | NJ
2006-07-25 | 2006-07-25 | 51401 | 39.588 | 0 | [21 empty] | 2006-08-20 | 44.743 | 46.2703 | 34.473 | 0
2006-07-26 | 2006-07-26 | 52775 | 41.483 | 41.483 |  | 86 | NJ | 88 | CT | [16 empty] | 2006-07-22 | 44.496 | 43.9808 | 37.522 | 0
2006-07-27 | 2006-07-27 | 53353 | 42.893 | 42.893 |  | 90 | MA | [18 empty] | 2006-06-26 | 44.398 | 43.3589 | 34.682 | 0
2006-07-28 | 2006-07-28 | 53266 | 43.428 | 0 | [21 empty] | 2006-08-25 | 43.861 | 47.2546 | 37.246 | 43.861 |  | 88 | NVA |  | DC | 98 | MD
2006-07-29 | 2006-07-29 | 50508 | 40.769 | 40.769 |  | 89 | MA | [18 empty] | 2006-08-19 | 43.851 | 43.21 | 35.816 | 0
2006-07-30 | 2006-07-30 | 52648 | 39.89 | 0 | [21 empty] | 2006-08-24 | 43.803 | 46.4808 | 36.043 | 43.803 |  | 86 | DC | 87 | MD
2006-07-31 | 2006-07-31 | 56725 | 44.846 | 44.846 | 44.846 | 87 | MD | 86 | PA | [16 empty] | 2006-08-26 | 43.679 | 37.8443 | 35.633 | 43.679 |  | 90 | NVA
2006-08-01 | 2006-08-01 | 59776 | 46.803 | 46.803 | 46.803 | 88 | NVA | 94 | MD | 94 | NJ | 97 | CT | 93.1429 | RI | 112 | MA | [8 empty] | 2006-08-11 | 43.62 | 41.828 | 36.093 | 0
2006-08-02 | 2006-08-02 | 60707 | 48.356 | 48.356 | 48.356 | 85 | DE | 92 | NJ | 100 | CT | 111 | MA | [12 empty] | 2006-07-07 | 43.278 | 40.9244 | 32.507 | 0
2006-08-03 | 2006-08-03 | 59749 | 49.454 | 49.454 | 49.454 | 89 | DE | 88 | NJ | 95 | CT | 101 | MA | [12 empty] | 2006-07-23 | 42.899 | 39.7386 | 35.232 | 0
2006-08-04 | 2006-08-04 | 56545 | 44.39 | 0 | [21 empty] | 2006-06-16 | 42.73 | 41.2805 | 35.33 | 0
2006-08-05 | 2006-08-05 | 49093 | 39.085 | 39.085 |  | 86 | NJ | [18 empty] | 2006-06-17 | 42.26 | 39.7981 | 36.438 | 42.26 |  | 87 | NVA | 91 | MD | 86 | PA | 93 | NJ | 92 | NY
2006-08-06 | 2006-08-06 | 49217 | 37.395 | 37.395 |  | 88 | MD | [18 empty] | 2006-07-09 | 42.24 | 40.2003 | 33.121 | 0
2006-08-07 | 2006-08-07 | 55236 | 41.286 | 41.286 |  | 96 | MD | 89 | CT | 86 | MA | [14 empty] | 2006-06-27 | 41.841 | 44.5749 | 37.286 | 0
2006-08-08 | 2006-08-08 | 51035 | 39.529 | 0 | [21 empty] | 2006-07-08 | 41.751 | 37.9685 | 32.78 | 0
2006-08-09 | 2006-08-09 | 48681 | 36.407 | 0 | [21 empty] | 2006-07-06 | 41.594 | 40.2256 | 34.399 | 0
2006-08-10 | 2006-08-10 | 47221 | 37.557 | 0 | [21 empty] | 2006-06-13 | 41.105 | 39.2022 | 34.034 | 0
2006-08-11 | 2006-08-11 | 43620 | 36.093 | 0 | [21 empty] | 2006-08-30 | 40.655 | 38.7171 | 35.779 | 0
2006-08-12 | 2006-08-12 | 34295 | 31.752 | 0 | [21 empty] | 2006-06-14 | 40.601 | 38.3491 | 33.087 | 0
2006-08-13 | 2006-08-13 | 36169 | 30.766 | 0 | [21 empty] | 2006-06-15 | 40.318 | 38.6564 | 34.916 | 0
2006-08-14 | 2006-08-14 | 49601 | 37.531 | 0 | [21 empty] | 2006-08-27 | 39.712 | 39.0305 | 35.199 | 0
2006-08-15 | 2006-08-15 | 50371 | 39.41 | 0 | [21 empty] | 2006-06-02 | 38.591 | 44.3844 | 37.002 | 0
2006-08-16 | 2006-08-16 | 48102 | 37.92 | 37.92 |  | 85 | NVA | [18 empty] | 2006-06-24 | 38.435 | 40.0071 | 32.288 | 0
2006-08-17 | 2006-08-17 | 47461 | 36.897 | 36.897 |  | 86 | NVA | [18 empty] | 2006-08-31 | 37.477 | 36.6554 | 33.947 | 0
2006-08-18 | 2006-08-18 | 47199 | 37.654 | 37.654 |  | 86 | MD | [18 empty] | 2006-06-06 | 37.168 | 36.7636 | 30.663 | 0
2006-08-19 | 2006-08-19 | 43851 | 35.816 | 0 | [21 empty] | 2006-06-08 | 36.64 | 36.526 | 31.571 | 0
2006-08-20 | 2006-08-20 | 44743 | 34.473 | 0 | [21 empty] | 2006-06-07 | 36.333 | 35.6092 | 31.993 | 0
2006-08-21 | 2006-08-21 | 46111 | 38.186 | 0 | [21 empty] | 2006-08-13 | 36.169 | 36.0577 | 30.766 | 0
2006-08-22 | 2006-08-22 | 47526 | 38.794 | 38.794 |  | 88 | MD | [18 empty] | 2006-06-09 | 35.399 | 37.5372 | 32.221 | 0
2006-08-23 | 2006-08-23 | 47986 | 38.191 | 38.191 |  | 87 | NVA | 90 | DC | 90 | MD | 87 | DE | [12 empty] | 2006-06-25 | 34.683 | 36.5036 | 31.208 | 0
2006-08-24 | 2006-08-24 | 43803 | 36.043 | 36.043 |  | 86 | DC | 87 | MD | [16 empty] | 2006-08-12 | 34.295 | 35.6613 | 31.752 | 0
2006-08-25 | 2006-08-25 | 43861 | 37.246 | 37.246 |  | 88 | NVA |  | DC | 98 | MD | [14 empty] | 2006-06-12 | 34.218 | 34.1994 | 33.54 | 0
2006-08-26 | 2006-08-26 | 43679 | 35.633 | 35.633 |  | 90 | NVA | [18 empty] | 2006-06-05 | 33.284 | 35.2213 | 33.457 | 0
2006-08-27 | 2006-08-27 | 39712 | 35.199 | 0 | [21 empty] | 2006-06-03 | 31.679 | 33.8666 | 30.829 | 0
2006-08-28 | 2006-08-28 | 50802 | 38.759 | 0 | [21 empty] | 2006-06-10 | 31.425 | 29.7291 | 28.646 | 0
2006-08-29 | 2006-08-29 | 46975 | 38.902 | 0 | [21 empty] | 2006-06-04 | 30.559 | 31.3058 | 28.981 | 0
2006-08-30 | 2006-08-30 | 40655 | 35.779 | 0 | [21 empty] | 2006-06-11 | 30.076 | 29.9952 | 27.128 | 0
2006-08-31 | 2006-08-31 | 37477 | 33.947 | 0 | [21 empty] | 2006-06-01 |  |  | 38.462 | 38.462 |  | 86 | NVA | 85 | DC | 98 | MD | 93 | PA | 104 | NJ
Peak Hourly Day Ahead Load Forecast

## O3Ex-CapVsMiss-State
| No. of Days (June 2-Aug) Exceedances Occurring Above 47 GW | No. of Days (June 2-Aug) Exceedances Occurring Above 48 GW | No. of Days (June 2-Aug) Exceedances Occurring Above 49 GW | No. of Days (June 2-Aug) Exceedances Occurring Above 50 GW | No. of Days (June 2-Aug) Exceedances Occurring Above 51 GW | No. of Days (June 2-Aug) Exceedances Occurring Above 52 GW
| 2006 | 2006 | 2006 | 2006 | 2006 | 2006
NVA | 7 | 5 | 4 | 4 | 4 | 4
DC | 4 | 3 | 3 | 3 | 3 | 3
MD | 12 | 8 | 8 | 7 | 7 | 6
DE | 5 | 4 | 4 | 4 | 4 | 3
PA | 6 | 5 | 5 | 5 | 5 | 4
NJ | 15 | 14 | 14 | 11 | 10 | 9
NY | 4 | 3 | 3 | 2 | 2 | 2
CT | 12 | 11 | 11 | 10 | 9 | 7
RI | 3 | 3 | 3 | 3 | 3 | 3
MA | 12 | 11 | 11 | 10 | 9 | 7
| 47 GW | 48 GW | 49 GW | 50 GW | 51 GW | 52 GW
| No. of Days (June 2-Aug) Exceedances Occurring Below 47 GW | No. of Days (June 2-Aug) Exceedances Occurring Below 48 GW | No. of Days (June 2-Aug) Exceedances Occurring Below 49 GW | No. of Days (June 2-Aug) Exceedances Occurring Below 50 GW | No. of Days (June 2-Aug) Exceedances Occurring Below 51 GW | No. of Days (June 2-Aug) Exceedances Occurring Below 52 GW
| 2006 | 2006 | 2006 | 2006 | 2006 | 2006
NVA | -3 | -5 | -6 | -6 | -6 | -6
DC | bar: 47 GW to 52 GW
MD | -4 | -8 | -8 | -9 | -9 | -10
DE | 0 | -1 | -1 | -1 | -1 | -2
PA | -1 | -2 | -2 | -2 | -2 | -3
NJ | -2 | -3 | -3 | -6 | -7 | -8
NY | -1 | -2 | -2 | -3 | -3 | -3
CT | 0 | -1 | -1 | -2 | -3 | -5
RI | 0 | 0 | 0 | 0 | 0 | 0
MA | 0 | -1 | -1 | -2 | -3 | -5

## O3Exc
State | Monitor | Exceedance Month | Exceedance Date | Exceedance Year | Exceedance Value (ppb) | Date |  |  | False Positive Days
CT | E. Hartford | 5 | 29 | 2006 | 86 | 2006-05-29 | red >52GW |  | 2006-08-04
CT | Middletown | 5 | 29 | 2006 | 86 | 2006-05-29 | blue >51 <52 GW |  | 2006-07-12
DC | McMillan | 5 | 29 | 2006 | 88 | 2006-05-29 | green >50 <51 GW |  | 2006-07-28
DC | River Terrace | 5 | 29 | 2006 | 86 | 2006-05-29 | pink >49 <50 GW |  | 2006-07-04
MD | Fairhill | 5 | 29 | 2006 | 92 | 2006-05-29 | orange >48 <49 GW |  | 2006-07-30
MD | HU-Beltsville | 5 | 29 | 2006 | 85 | 2006-05-29 | purple >47 <48 GW |  | 2006-07-21
NJ | Colliers Mills | 5 | 29 | 2006 | 99 | 2006-05-29 | black <47 GW |  | 2006-07-20
PA | Bristol | 5 | 29 | 2006 | 88 | 2006-05-29 |  |  | 2006-07-14
DC | McMillan | 5 | 30 | 2006 | 102 | 2006-05-30 |  |  | 2006-07-13
DC | River Terrace | 5 | 30 | 2006 | 93 | 2006-05-30 |  |  | 2006-07-25
DC | Takoma | 5 | 30 | 2006 | 86 | 2006-05-30 |  |  | 2006-08-08
DE | Brandywine | 5 | 30 | 2006 | 93 | 2006-05-30 |  |  | 2006-07-24
DE | Felton (Killens) | 5 | 30 | 2006 | 86 | 2006-05-30 |  |  | 2006-08-28
DE | Lewes | 5 | 30 | 2006 | 85 | 2006-05-30 |  |  | 2006-08-15
DE | Summit Bridge (Lums) | 5 | 30 | 2006 | 95 | 2006-05-30 |  |  | 2006-07-16
MD | Aldino | 5 | 30 | 2006 | 94 | 2006-05-30 |  |  | 2006-06-23
MD | Davidsonville | 5 | 30 | 2006 | 92 | 2006-05-30 |  |  | 2006-08-14
MD | Edgewood | 5 | 30 | 2006 | 103 | 2006-05-30 |  |  | 2006-07-15
MD | Essex | 5 | 30 | 2006 | 105 | 2006-05-30 |  |  | 2006-08-09
MD | Fairhill | 5 | 30 | 2006 | 101 | 2006-05-30 |  |  | 2006-06-20
MD | HU-Beltsville | 5 | 30 | 2006 | 95 | 2006-05-30 |  |  | 2006-06-28
MD | Millington | 5 | 30 | 2006 | 97 | 2006-05-30 |  |  | 2006-07-05
MD | PG Equestrian Center | 5 | 30 | 2006 | 85 | 2006-05-30 |  |  | 2006-08-10
NJ | Chester | 5 | 30 | 2006 | 101 | 2006-05-30
NJ | Flemington | 5 | 30 | 2006 | 93 | 2006-05-30
NJ | Rider Univ. | 5 | 30 | 2006 | 91 | 2006-05-30
PA | Allentown | 5 | 30 | 2006 | 89 | 2006-05-30
PA | Bristol | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Easton | 5 | 30 | 2006 | 99 | 2006-05-30
PA | Freemansburg | 5 | 30 | 2006 | 96 | 2006-05-30
PA | Lancaster | 5 | 30 | 2006 | 88 | 2006-05-30
PA | New Garden (Airport) | 5 | 30 | 2006 | 100 | 2006-05-30
PA | Norristown | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Northeast (Airport) | 5 | 30 | 2006 | 87 | 2006-05-30
PA | Northwest (Roxborough) | 5 | 30 | 2006 | 85 | 2006-05-30
VA | Alexandria | 5 | 30 | 2006 | 94 | 2006-05-30
VA | Annandale | 5 | 30 | 2006 | 92 | 2006-05-30
VA | Arlington | 5 | 30 | 2006 | 101 | 2006-05-30
VA | Franconia | 5 | 30 | 2006 | 99 | 2006-05-30
VA | McLean | 5 | 30 | 2006 | 90 | 2006-05-30
VA | Mount Vernon | 5 | 30 | 2006 | 94 | 2006-05-30
VA | Prince William | 5 | 30 | 2006 | 96 | 2006-05-30
DC | McMillan | 5 | 31 | 2006 | 87 | 2006-05-31
DC | Takoma | 5 | 31 | 2006 | 85 | 2006-05-31
MD | Frederick Airport | 5 | 31 | 2006 | 88 | 2006-05-31
MD | Rockville | 5 | 31 | 2006 | 101 | 2006-05-31
MD | South Carroll | 5 | 31 | 2006 | 104 | 2006-05-31
PA | Allentown | 5 | 31 | 2006 | 92 | 2006-05-31
PA | Freemansburg | 5 | 31 | 2006 | 87 | 2006-05-31
VA | Annandale | 5 | 31 | 2006 | 85 | 2006-05-31
VA | Arlington | 5 | 31 | 2006 | 85 | 2006-05-31
VA | Chantilly | 5 | 31 | 2006 | 88 | 2006-05-31
VA | Loudoun | 5 | 31 | 2006 | 102 | 2006-05-31
VA | McLean | 5 | 31 | 2006 | 92 | 2006-05-31
VA | Prince William | 5 | 31 | 2006 | 98 | 2006-05-31
DC | McMillan | 6 | 1 | 2006 | 85 | 2006-06-01
DC | Takoma | 6 | 1 | 2006 | 85 | 2006-06-01
MD | HU-Beltsville | 6 | 1 | 2006 | 98 | 2006-06-01
MD | Rockville | 6 | 1 | 2006 | 90 | 2006-06-01
NJ | Flemington | 6 | 1 | 2006 | 89 | 2006-06-01
NJ | Rider Univ. | 6 | 1 | 2006 | 97 | 2006-06-01
NJ | Rutgers Univ. | 6 | 1 | 2006 | 104 | 2006-06-01
PA | Bristol | 6 | 1 | 2006 | 93 | 2006-06-01
PA | Northeast (Airport) | 6 | 1 | 2006 | 85 | 2006-06-01
VA | McLean | 6 | 1 | 2006 | 86 | 2006-06-01
MD | Padonia | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
MD | Rockville | 6 | 17 | 2006 | 91 | 2006-06-17 |  | weekend
NJ | Chester | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
NJ | Rider Univ. | 6 | 17 | 2006 | 90 | 2006-06-17 |  | weekend
NJ | Rutgers Univ. | 6 | 17 | 2006 | 93 | 2006-06-17 |  | weekend
NY | Susan Wagner | 6 | 17 | 2006 | 92 | 2006-06-17 |  | weekend
PA | Bristol | 6 | 17 | 2006 | 86 | 2006-06-17 |  | weekend
PA | Hershey | 6 | 17 | 2006 | 85 | 2006-06-17 |  | weekend
VA | McLean | 6 | 17 | 2006 | 87 | 2006-06-17 |  | weekend
CT | Cornwall | 6 | 18 | 2006 | 94 | 2006-06-18 |  | weekend
CT | Danbury | 6 | 18 | 2006 | 103 | 2006-06-18 |  | weekend
CT | E. Hartford | 6 | 18 | 2006 | 111 | 2006-06-18 |  | weekend
CT | Greenwich | 6 | 18 | 2006 | 99 | 2006-06-18 |  | weekend
CT | Madison | 6 | 18 | 2006 | 95 | 2006-06-18 |  | weekend
CT | Middletown | 6 | 18 | 2006 | 110 | 2006-06-18 |  | weekend
CT | New Haven C. | 6 | 18 | 2006 | 100 | 2006-06-18 |  | weekend
CT | Stafford | 6 | 18 | 2006 | 105 | 2006-06-18 |  | weekend
CT | Stratford | 6 | 18 | 2006 | 97 | 2006-06-18 |  | weekend
CT | Westport | 6 | 18 | 2006 | 119 | 2006-06-18 |  | weekend
MA | Chicopee | 6 | 18 | 2006 | 102 | 2006-06-18 |  | weekend
MA | Milton-Blue Hill | 6 | 18 | 2006 | 86 | 2006-06-18 |  | weekend
MA | Ware | 6 | 18 | 2006 | 103 | 2006-06-18 |  | weekend
MD | Aldino | 6 | 18 | 2006 | 91 | 2006-06-18 |  | weekend
MD | Edgewood | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
MD | Fairhill | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
MD | Frederick Airport | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
MD | HU-Beltsville | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
MD | Padonia | 6 | 18 | 2006 | 95 | 2006-06-18 |  | weekend
NJ | Bayonne | 6 | 18 | 2006 | 87 | 2006-06-18 |  | weekend
NJ | Camden | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
NJ | Chester | 6 | 18 | 2006 | 91 | 2006-06-18 |  | weekend
NJ | Ramapo | 6 | 18 | 2006 | 85 | 2006-06-18 |  | weekend
NJ | Rider Univ. | 6 | 18 | 2006 | 104 | 2006-06-18 |  | weekend
NJ | Rutgers Univ. | 6 | 18 | 2006 | 107 | 2006-06-18 |  | weekend
NJ | Teaneck | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
NY | Botanical Gdn. | 6 | 18 | 2006 | 90 | 2006-06-18 |  | weekend
NY | IS 52 | 6 | 18 | 2006 | 99 | 2006-06-18 |  | weekend
NY | Susan Wagner | 6 | 18 | 2006 | 113 | 2006-06-18 |  | weekend
NY | White Plains | 6 | 18 | 2006 | 112 | 2006-06-18 |  | weekend
PA | Allentown | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
PA | Bristol | 6 | 18 | 2006 | 103 | 2006-06-18 |  | weekend
PA | Easton | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
PA | Freemansburg | 6 | 18 | 2006 | 89 | 2006-06-18 |  | weekend
PA | Harrisburg | 6 | 18 | 2006 | 87 | 2006-06-18 |  | weekend
PA | Hershey | 6 | 18 | 2006 | 88 | 2006-06-18 |  | weekend
PA | Lancaster | 6 | 18 | 2006 | 93 | 2006-06-18 |  | weekend
PA | Northeast (Airport) | 6 | 18 | 2006 | 96 | 2006-06-18 |  | weekend
PA | Reading | 6 | 18 | 2006 | 86 | 2006-06-18 |  | weekend
CT | Cornwall | 6 | 19 | 2006 | 100 | 2006-06-19
CT | Danbury | 6 | 19 | 2006 | 98 | 2006-06-19
CT | E. Hartford | 6 | 19 | 2006 | 98 | 2006-06-19
CT | Middletown | 6 | 19 | 2006 | 89 | 2006-06-19
CT | Stafford | 6 | 19 | 2006 | 96 | 2006-06-19
MA | Amherst | 6 | 19 | 2006 | 102 | 2006-06-19
MA | Chicopee | 6 | 19 | 2006 | 119 | 2006-06-19
MA | Haverhill | 6 | 19 | 2006 | 90 | 2006-06-19
MA | Lynn | 6 | 19 | 2006 | 86 | 2006-06-19
MA | Milton-Blue Hill | 6 | 19 | 2006 | 85 | 2006-06-19
MA | New-bury | 6 | 19 | 2006 | 86 | 2006-06-19
MA | Ware | 6 | 19 | 2006 | 110 | 2006-06-19
MA | Worchester | 6 | 19 | 2006 | 91 | 2006-06-19
NJ | Ramapo | 6 | 19 | 2006 | 86 | 2006-06-19
NJ | Rider Univ. | 6 | 19 | 2006 | 85 | 2006-06-19
NJ | Rutgers Univ. | 6 | 19 | 2006 | 86 | 2006-06-19
NJ | Teaneck | 6 | 19 | 2006 | 90 | 2006-06-19
NY | Mt. Ninham | 6 | 19 | 2006 | 94 | 2006-06-19
NY | Susan Wagner | 6 | 19 | 2006 | 85 | 2006-06-19
NY | White Plains | 6 | 19 | 2006 | 87 | 2006-06-19
MD | Davidsonville | 6 | 21 | 2006 | 94 | 2006-06-21
MD | Edgewood | 6 | 21 | 2006 | 95 | 2006-06-21
MD | Essex | 6 | 21 | 2006 | 86 | 2006-06-21
MD | PG Equestrian Center | 6 | 21 | 2006 | 96 | 2006-06-21
CT | Cornwall | 6 | 22 | 2006 | 89 | 2006-06-22
CT | Danbury | 6 | 22 | 2006 | 87 | 2006-06-22
CT | E. Hartford | 6 | 22 | 2006 | 87 | 2006-06-22
CT | Middletown | 6 | 22 | 2006 | 94 | 2006-06-22
CT | Stafford | 6 | 22 | 2006 | 100 | 2006-06-22
CT | Westport | 6 | 22 | 2006 | 89 | 2006-06-22
DE | Bellefonte | 6 | 22 | 2006 | 88 | 2006-06-22
DE | Brandywine | 6 | 22 | 2006 | 90 | 2006-06-22
DE | Summit Bridge (Lums) | 6 | 22 | 2006 | 89 | 2006-06-22
MA | Boston-Long Is. | 6 | 22 | 2006 | 85 | 2006-06-22
MA | Chicopee | 6 | 22 | 2006 | 91 | 2006-06-22
MA | Ware | 6 | 22 | 2006 | 98 | 2006-06-22
MA | Worchester | 6 | 22 | 2006 | 91 | 2006-06-22
MD | Aldino | 6 | 22 | 2006 | 90 | 2006-06-22
MD | Edgewood | 6 | 22 | 2006 | 94 | 2006-06-22
MD | Essex | 6 | 22 | 2006 | 85 | 2006-06-22
MD | Fairhill | 6 | 22 | 2006 | 101 | 2006-06-22
MD | Millington | 6 | 22 | 2006 | 88 | 2006-06-22
NJ | Ancora St. Hosp. | 6 | 22 | 2006 | 86 | 2006-06-22
NJ | Camden | 6 | 22 | 2006 | 92 | 2006-06-22
NJ | Clarksboro | 6 | 22 | 2006 | 88 | 2006-06-22
NJ | Colliers Mills | 6 | 22 | 2006 | 88 | 2006-06-22
NJ | Rutgers Univ. | 6 | 22 | 2006 | 90 | 2006-06-22
PA | Chester | 6 | 22 | 2006 | 92 | 2006-06-22
PA | New Garden (Airport) | 6 | 22 | 2006 | 89 | 2006-06-22
NJ | Chester | 6 | 29 | 2006 | 86 | 2006-06-29
NJ | Chester | 7 | 1 | 2006 | 85 | 2006-07-01 |  | weekend
CT | Madison | 7 | 2 | 2006 | 85 | 2006-07-02 |  | weekend
CT | Stratford | 7 | 2 | 2006 | 86 | 2006-07-02 |  | weekend
NJ | Colliers Mills | 7 | 2 | 2006 | 87 | 2006-07-02 |  | weekend
NJ | Monmouth Univ. | 7 | 2 | 2006 | 89 | 2006-07-02 |  | weekend
NJ | Colliers Mills | 7 | 3 | 2006 | 88 | 2006-07-03
CT | Cornwall | 7 | 10 | 2006 | 85 | 2006-07-10
MA | Chicopee | 7 | 10 | 2006 | 85 | 2006-07-10
MD | Aldino | 7 | 11 | 2006 | 90 | 2006-07-11
MD | Edgewood | 7 | 11 | 2006 | 87 | 2006-07-11
MD | HU-Beltsville | 7 | 11 | 2006 | 86 | 2006-07-11
NJ | Bayonne | 7 | 11 | 2006 | 92 | 2006-07-11
NJ | Flemington | 7 | 11 | 2006 | 88 | 2006-07-11
NJ | Rider Univ. | 7 | 11 | 2006 | 90 | 2006-07-11
NJ | Rutgers Univ. | 7 | 11 | 2006 | 99 | 2006-07-11
CT | Greenwich | 7 | 17 | 2006 | 100 | 2006-07-17
CT | Madison | 7 | 17 | 2006 | 86 | 2006-07-17
CT | Middletown | 7 | 17 | 2006 | 98 | 2006-07-17
CT | Stratford | 7 | 17 | 2006 | 110 | 2006-07-17
CT | Westport | 7 | 17 | 2006 | 109 | 2006-07-17
DC | McMillan | 7 | 17 | 2006 | 91 | 2006-07-17
DC | River Terrace | 7 | 17 | 2006 | 87 | 2006-07-17
MA | Fairhaven | 7 | 17 | 2006 | 85 | 2006-07-17
MD | Davidsonville | 7 | 17 | 2006 | 94 | 2006-07-17
MD | Edgewood | 7 | 17 | 2006 | 95 | 2006-07-17
MD | Essex | 7 | 17 | 2006 | 91 | 2006-07-17
MD | PG Equestrian Center | 7 | 17 | 2006 | 100 | 2006-07-17
MD | Southern Maryland | 7 | 17 | 2006 | 99 | 2006-07-17
NJ | Ancora St. Hosp. | 7 | 17 | 2006 | 116 | 2006-07-17
NJ | Bayonne | 7 | 17 | 2006 | 92 | 2006-07-17
NJ | Camden | 7 | 17 | 2006 | 87 | 2006-07-17
NJ | Chester | 7 | 17 | 2006 | 93 | 2006-07-17
NJ | Clarksboro | 7 | 17 | 2006 | 91 | 2006-07-17
NJ | Colliers Mills | 7 | 17 | 2006 | 94 | 2006-07-17
NJ | Millville | 7 | 17 | 2006 | 87 | 2006-07-17
NJ | Monmouth Univ. | 7 | 17 | 2006 | 92 | 2006-07-17
NJ | Teaneck | 7 | 17 | 2006 | 86 | 2006-07-17
NY | Babylon | 7 | 17 | 2006 | 93 | 2006-07-17
NY | Botanical Gdn. | 7 | 17 | 2006 | 89 | 2006-07-17
NY | Holtsville | 7 | 17 | 2006 | 90 | 2006-07-17
NY | Queens College 2 | 7 | 17 | 2006 | 86 | 2006-07-17
NY | Riverhead | 7 | 17 | 2006 | 101 | 2006-07-17
NY | Susan Wagner | 7 | 17 | 2006 | 98 | 2006-07-17
PA | Chester | 7 | 17 | 2006 | 90 | 2006-07-17
PA | Lancaster | 7 | 17 | 2006 | 86 | 2006-07-17
PA | Norristown | 7 | 17 | 2006 | 86 | 2006-07-17
PA | Northeast (Airport) | 7 | 17 | 2006 | 85 | 2006-07-17
PA | Southwest (Elmwood) | 7 | 17 | 2006 | 85 | 2006-07-17
RI | Narragansett | 7 | 17 | 2006 | 100 | 2006-07-17
VA | Alexandria | 7 | 17 | 2006 | 98 | 2006-07-17
VA | Annandale | 7 | 17 | 2006 | 87 | 2006-07-17
VA | Arlington | 7 | 17 | 2006 | 95 | 2006-07-17
VA | Franconia | 7 | 17 | 2006 | 107 | 2006-07-17
VA | McLean | 7 | 17 | 2006 | 88 | 2006-07-17
VA | Mount Vernon | 7 | 17 | 2006 | 116 | 2006-07-17
CT | Greenwich | 7 | 18 | 2006 | 99 | 2006-07-18
CT | Groton | 7 | 18 | 2006 | 110 | 2006-07-18
CT | Madison | 7 | 18 | 2006 | 114 | 2006-07-18
CT | Stratford | 7 | 18 | 2006 | 99 | 2006-07-18
CT | Westport | 7 | 18 | 2006 | 102 | 2006-07-18
DC | McMillan | 7 | 18 | 2006 | 96 | 2006-07-18
DC | River Terrace | 7 | 18 | 2006 | 93 | 2006-07-18
DE | Felton (Killens) | 7 | 18 | 2006 | 89 | 2006-07-18
MA | Fairhaven | 7 | 18 | 2006 | 107 | 2006-07-18
MA | Milton - Blue Hill | 7 | 18 | 2006 | 87 | 2006-07-18
MA | Truro | 7 | 18 | 2006 | 104 | 2006-07-18
MD | Aldino | 7 | 18 | 2006 | 85 | 2006-07-18
MD | Davidsonville | 7 | 18 | 2006 | 105 | 2006-07-18
MD | Edgewood | 7 | 18 | 2006 | 100 | 2006-07-18
MD | Essex | 7 | 18 | 2006 | 110 | 2006-07-18
MD | PG Equestrian Center | 7 | 18 | 2006 | 102 | 2006-07-18
MD | Southern Maryland | 7 | 18 | 2006 | 94 | 2006-07-18
NJ | Ancora St. Hosp. | 7 | 18 | 2006 | 112 | 2006-07-18
NJ | Bayonne | 7 | 18 | 2006 | 93 | 2006-07-18
NJ | Camden | 7 | 18 | 2006 | 90 | 2006-07-18
NJ | Chester | 7 | 18 | 2006 | 99 | 2006-07-18
NJ | Clarksboro | 7 | 18 | 2006 | 89 | 2006-07-18
NJ | Colliers Mills | 7 | 18 | 2006 | 100 | 2006-07-18
NJ | Flemington | 7 | 18 | 2006 | 87 | 2006-07-18
NJ | Millville | 7 | 18 | 2006 | 97 | 2006-07-18
NJ | Monmouth Univ. | 7 | 18 | 2006 | 102 | 2006-07-18
NJ | Nacote Creek | 7 | 18 | 2006 | 94 | 2006-07-18
NJ | Rider Univ. | 7 | 18 | 2006 | 85 | 2006-07-18
NJ | Rutgers Univ. | 7 | 18 | 2006 | 94 | 2006-07-18
NJ | Teaneck | 7 | 18 | 2006 | 93 | 2006-07-18
NY | Babylon | 7 | 18 | 2006 | 107 | 2006-07-18
NY | Botanical Gdn. | 7 | 18 | 2006 | 95 | 2006-07-18
NY | Holtsville | 7 | 18 | 2006 | 116 | 2006-07-18
NY | Queens College 2 | 7 | 18 | 2006 | 89 | 2006-07-18
NY | Riverhead | 7 | 18 | 2006 | 130 | 2006-07-18
NY | Susan Wagner | 7 | 18 | 2006 | 96 | 2006-07-18
PA | Bristol | 7 | 18 | 2006 | 87 | 2006-07-18
PA | Lancaster | 7 | 18 | 2006 | 85 | 2006-07-18
PA | Norristown | 7 | 18 | 2006 | 89 | 2006-07-18
PA | Northeast (Airport) | 7 | 18 | 2006 | 87 | 2006-07-18
PA | Southwest (Elmwood) | 7 | 18 | 2006 | 86 | 2006-07-18
RI | E. Providence | 7 | 18 | 2006 | 95 | 2006-07-18
RI | Narragansett | 7 | 18 | 2006 | 130 | 2006-07-18
RI | W. Greenwich | 7 | 18 | 2006 | 91 | 2006-07-18
VA | Alexandria | 7 | 18 | 2006 | 118 | 2006-07-18
VA | Arlington | 7 | 18 | 2006 | 97 | 2006-07-18
VA | Franconia | 7 | 18 | 2006 | 109 | 2006-07-18
VA | Mount Vernon | 7 | 18 | 2006 | 125 | 2006-07-18
DC | McMillan | 7 | 19 | 2006 | 87 | 2006-07-19
NJ | Chester | 7 | 19 | 2006 | 90 | 2006-07-19
PA | Chester | 7 | 19 | 2006 | 87 | 2006-07-19
PA | New Garden (Airport) | 7 | 19 | 2006 | 86 | 2006-07-19
VA | Arlington | 7 | 19 | 2006 | 85 | 2006-07-19
VA | Chantilly | 7 | 19 | 2006 | 86 | 2006-07-19
VA | Franconia | 7 | 19 | 2006 | 85 | 2006-07-19
VA | Loudoun | 7 | 19 | 2006 | 88 | 2006-07-19
VA | McLean | 7 | 19 | 2006 | 100 | 2006-07-19
CT | Danbury | 7 | 26 | 2006 | 88 | 2006-07-26
NJ | Chester | 7 | 26 | 2006 | 86 | 2006-07-26
NJ | Flemington | 7 | 26 | 2006 | 85 | 2006-07-26
MA | Chicopee | 7 | 27 | 2006 | 90 | 2006-07-27
MA | Martha's Vinyard | 7 | 29 | 2006 | 89 | 2006-07-29 |  | weekend
MD | Barstow / Calvert Co | 7 | 31 | 2006 | 86 | 2006-07-31
MD | Essex | 7 | 31 | 2006 | 87 | 2006-07-31
PA | Bristol | 7 | 31 | 2006 | 86 | 2006-07-31
CT | Greenwich | 8 | 1 | 2006 | 97 | 2006-08-01
CT | Groton | 8 | 1 | 2006 | 90 | 2006-08-01
CT | Stratford | 8 | 1 | 2006 | 93 | 2006-08-01
MA | Fairhaven | 8 | 1 | 2006 | 104 | 2006-08-01
MA | Martha's Vinyard | 8 | 1 | 2006 | 112 | 2006-08-01
MA | Truro | 8 | 1 | 2006 | 105 | 2006-08-01
MD | Davidsonville | 8 | 1 | 2006 | 85 | 2006-08-01
MD | PG Equestrian Center | 8 | 1 | 2006 | 94 | 2006-08-01
NJ | Ancora St. Hosp. | 8 | 1 | 2006 | 94 | 2006-08-01
NJ | Bayonne | 8 | 1 | 2006 | 87 | 2006-08-01
NJ | Colliers Mills | 8 | 1 | 2006 | 90 | 2006-08-01
RI | Narragansett | 8 | 1 | 2006 | 93 | 2006-08-01
VA | Mount Vernon | 8 | 1 | 2006 | 88 | 2006-08-01
CT | Greenwich | 8 | 2 | 2006 | 92 | 2006-08-02
CT | Groton | 8 | 2 | 2006 | 100 | 2006-08-02
CT | Madison | 8 | 2 | 2006 | 100 | 2006-08-02
CT | Stratford | 8 | 2 | 2006 | 95 | 2006-08-02
CT | Westport | 8 | 2 | 2006 | 87 | 2006-08-02
DE | Felton (Killens) | 8 | 2 | 2006 | 85 | 2006-08-02
MA | Fairhaven | 8 | 2 | 2006 | 89 | 2006-08-02
MA | Martha's Vinyard | 8 | 2 | 2006 | 111 | 2006-08-02
MA | Truro | 8 | 2 | 2006 | 96 | 2006-08-02
NJ | Ancora St. Hosp. | 8 | 2 | 2006 | 86 | 2006-08-02
NJ | Bayonne | 8 | 2 | 2006 | 86 | 2006-08-02
NJ | Chester | 8 | 2 | 2006 | 90 | 2006-08-02
NJ | Colliers Mills | 8 | 2 | 2006 | 92 | 2006-08-02
NJ | Monmouth Univ. | 8 | 2 | 2006 | 88 | 2006-08-02
CT | Groton | 8 | 3 | 2006 | 92 | 2006-08-03
CT | Madison | 8 | 3 | 2006 | 95 | 2006-08-03
CT | Stratford | 8 | 3 | 2006 | 87 | 2006-08-03
DE | Felton (Killens) | 8 | 3 | 2006 | 88 | 2006-08-03
DE | Lewes | 8 | 3 | 2006 | 88 | 2006-08-03
DE | Seaford | 8 | 3 | 2006 | 89 | 2006-08-03
MA | Martha's Vinyard | 8 | 3 | 2006 | 101 | 2006-08-03
NJ | Ancora St. Hosp. | 8 | 3 | 2006 | 87 | 2006-08-03
NJ | Colliers Mills | 8 | 3 | 2006 | 88 | 2006-08-03
NJ | Monmouth Univ. | 8 | 5 | 2006 | 86 | 2006-08-05 |  | weekend
MD | Rockville | 8 | 6 | 2006 | 88 | 2006-08-06 |  | weekend
CT | Stafford | 8 | 7 | 2006 | 89 | 2006-08-07
CT | Westport | 8 | 7 | 2006 | 86 | 2006-08-07
MA | Ware | 8 | 7 | 2006 | 86 | 2006-08-07
MD | Aldino | 8 | 7 | 2006 | 92 | 2006-08-07
MD | Edgewood | 8 | 7 | 2006 | 89 | 2006-08-07
MD | Fairhill | 8 | 7 | 2006 | 96 | 2006-08-07
VA | Franconia | 8 | 16 | 2006 | 85 | 2006-08-16
VA | Prince William | 8 | 17 | 2006 | 86 | 2006-08-17
MD | Frederick Airport | 8 | 18 | 2006 | 86 | 2006-08-18
MD | Hagerstown | 8 | 18 | 2006 | 85 | 2006-08-18
MD | Edgewood | 8 | 22 | 2006 | 87 | 2006-08-22
MD | Essex | 8 | 22 | 2006 | 88 | 2006-08-22
DC | McMillan | 8 | 23 | 2006 | 90 | 2006-08-23
DC | River Terrace | 8 | 23 | 2006 | 85 | 2006-08-23
DE | Lewes | 8 | 23 | 2006 | 87 | 2006-08-23
MD | Barstow / Calvert Co | 8 | 23 | 2006 | 90 | 2006-08-23
MD | Davidsonville | 8 | 23 | 2006 | 90 | 2006-08-23
MD | Southern Maryland | 8 | 23 | 2006 | 89 | 2006-08-23
VA | Franconia | 8 | 23 | 2006 | 87 | 2006-08-23
VA | Mount Vernon | 8 | 23 | 2006 | 87 | 2006-08-23
DC | River Terrace | 8 | 24 | 2006 | 86 | 2006-08-24
MD | Barstow / Calvert Co | 8 | 24 | 2006 | 87 | 2006-08-24
MD | Davidsonville | 8 | 24 | 2006 | 86 | 2006-08-24
MD | Essex | 8 | 24 | 2006 | 85 | 2006-08-24
MD | Southern Maryland | 8 | 24 | 2006 | 85 | 2006-08-24
DC | River Terrace | 8 | 25 | 2006 | 87 | 2006-08-25
MD | Edgewood | 8 | 25 | 2006 | 85 | 2006-08-25
MD | Essex | 8 | 25 | 2006 | 98 | 2006-08-25
MD | Frederick Airport | 8 | 25 | 2006 | 85 | 2006-08-25
MD | Furley E.S. Recreation Center | 8 | 25 | 2006 | 85 | 2006-08-25
MD | HU-Beltsville | 8 | 25 | 2006 | 85 | 2006-08-25
MD | PG Equestrian Center | 8 | 25 | 2006 | 95 | 2006-08-25
VA | Annandale | 8 | 25 | 2006 | 85 | 2006-08-25
VA | Franconia | 8 | 25 | 2006 | 86 | 2006-08-25
VA | Mount Vernon | 8 | 25 | 2006 | 88 | 2006-08-25
VA | Prince William | 8 | 26 | 2006 | 90 | 2006-08-26 |  | weekend